## Table 1
SSR 2020-21 : BUILDING
Sr. No | Chapter | SSR Item No. | Reference No. | Description of the item | Additional Specification | Unit | Completed Rates
1 | Excavation | 21.02 | BDA 1 | Excavation for foundation in earth, soil of all types, sand, gravel and soft murum, including removing the excavated material upto a distance of 50m. beyond the building area and stacking and spreading as directed, dewatering, preparing the bed for the foundation and necessary backfilling, ramming, watering including shoring and strutting etc. complete. (Liftupto 3.00 m.) By Manual Means (SSR 2020-21 item no. 21.01, Page No.148) | Bd.A.1 Page No. 259 | Cubic Metre | 225.57
2 | Excavation | 21.04 | BDA 1 | Excavation for foundation in earth, soil of all types, sand, gravel and soft murum, including removing the excavated material up to a distance of 50 m. beyond the building area and stacking and spreading as directed, dewatering, preparing the bed for the foundation and necessary back filling, ramming, watering including shoring and strutting etc. complete. (Lift upto 1.5 m.) By Mechanical Means (SSR 2020-21 item no. 21.02, Page No.148) | Bd.A.1 Page No. 259 | Cubic Metre | 189.19
3 | Excavation | 21.06 | BDA 2 | Excavation for foundation in earth, soil of all types, sand, gravel and soft murum, including removing the excavated material up to a distance of 50 m. beyond the building area and stacking and spreading as directed, dewatering, preparing the bed for the foundation and necessary back filling, ramming, watering including shoring and strutting etc. complete. (Lift from 1.5m to 3.0m) By Manual Means (SSR 2020-21 item no. 21.03, Page No.148) | Bd.A.2 Page No. 259 | Cubic Metre | 297.3
4 | Excavation | 21.08 | BDA 2 | Excavation for foundation in earth, soils of all types, sand,gravel and soft murum, including removing the excavated material upto a distance of 50 metres beyond the building area and stacking and spreading as directed, dewatering, preparing the bed for the foundation and necessary back filling, ramming, watering including shoring and strutting etc. complete. (Lift from 1.5m to 3.0m) By Mechanical Means. (SSR 2020-21 item no. 21.04, Page No.148) | Bd.A.2 Page No. 259 | Cubic Metre | 235.97
5 | Excavation | 21.1 | BDA 3 | Excavation for foundation in hard murum including removing the excavated material upto distance of 50 metres beyond the building area and stacking and spreading as directed, dewatering, preparing the bed for the foundation and necessary back filling, ramming, watering including shoring and strutting etc. complete. (Lift upto 1.50 m) By Manual Means (SSR 2020-21 item no. 21.05, Page No.148) | Bd.A.3 Page No. 259 | Cubic Metre | 344.07
6 | Excavation | 21.12 | BDA 3 | Excavation for foundation in hard murum including removing the excavated material upto distance of 50 metres beyond the building area and stacking and spreading as directed, dewatering, preparing the bed for the foundation and necessary back filling, ramming, watering including shoring and strutting etc. complete. (Lift upto 1.50 m) By Mechanical Means (SSR 2020-21 item no. 21.06, Page No.148) | Bd.A.3 Page No. 259 | Cubic Metre | 207.9
7 | Excavation | 21.14 | BDA 4 | Excavation for foundation in Hard murum including removing the excavated material upto a distance of 50 metres beyond the building area and stacking and spreading as directed, dewatering, preparing the bed for the foundation and necessary back filling, ramming, watering including shoring and strutting etc. complete. (Lift from 1.5 to 3.0m.) By Manual Means (SSR 2020-21 item no. 21.07, Page No.148) | Bd.A.4 Page No. 259 | Cubic Metre | 390.85
8 | Excavation | 21.16 | BDA 4 | Excavation for foundation in Hard murum including removing the excavated material upto a distance of 50 metres beyond the building area and stacking and spreading as directed, dewatering, preparing the bed for the foundation and necessary back filling, ramming, watering including shoring and strutting etc. complete. (Lift from 1.5 to 3.0m.) By Mechanical Means (SSR 2020-21 item no. 21.08, Page No.149) | Bd.A.4 Page No. 259 | Cubic Metre | 259.88
9 | Excavation | 21.2 | BDA 6 | Excavation for foundation in hard murum and boulders including removing the excavated material up to a distance 50 metres, beyond the building area and stacking and spreading as directed, dewatering, preparing the bed for the foundation and necessary back filling, ramming, watering including shoring and strutting etc. complete. (Lift upto 1.5m.) By Mechanical Means (SSR 2020-21 item no. 21.10, Page No.149) | Bd.A.6 Page No. 260 | Cubic Metre | 229.73
10 | Excavation | 21.2 | BDA 6 | Excavation for foundation in Hard murum and boulders including removing the excavated material upto a distance of 50 metres, beyond the building area and stacking and spreading as directed, dewatering, preparing the bed for the foundation and necessary back filling, ramming, watering including shoring and strutting etc. complete. (Lift from 1.5 m to 3.0 m.) By Mechanical Means (SSR 2020-21 item no. 21.12, Page No.149) | Bd.A.6 Page No. 260 | Cubic Metre | 284.82
11 | Excavation | 21.14 | BDA 4 | Excavation for foundation in Soft rock and old cement or lime masonry foundations including removing the excavated material upto a distance of 50 metres beyond the building area and stacking as directed, including dewatering, preparing the bed for the foundation and necessary back filling with available earth /murum, ramming, watering including shoring and strutting etc. complete (lift upto 1.5m) By Mechanical Means (SSR 2020 21 item no. 21.14, Page No.149) | Bd.A.4 Page No. 259 | Cubic Metre | 397.09
12 | Excavation | 21.16 | BDA 4 | Excavation for foundation in Soft rock and old cement or lime masonry foundations including removing the excavated material upto a distance of 50 metres beyond the building area and stacking as directed, including dewatering, preparing the bed for the foundation and necessary back filling with available earth/murum, ramming ,watering including shoring and strutting etc. complete. (Lift from 1.5m To 3.0 m.) By Mechanical Means (SSR 2020-21 item no. 21.16, Page No.149) | Bd.A.4 Page No. 259 | Cubic Metre | 484.81
13 | Excavation | 21.2 | BDA 6 | Excavation for foundation in Hard rock by chiselling, wedging, line drilling, etc. including trimming and levelling the bed, removing the excavated material upto a distance of 50 metres beyond the building area stacking as directed, dewatering and backfilling with available earth/ murum watering, ramming etc. complete. (Lift upto 1.5 m). By Mechanical Means (SSR 2020-21 item no. 21.20, Page No.151) | Bd.A.6 Page No. 260 | Cubic Metre | 1215.18
14 | Excavation | 21.36 | BDA 10 | Filling in plinth and floors with approved excavated material in 15cm. to 20cm. Layers including watering and compacting etc. complete. (SSR 2020-21 item no. 21.36, Page No.149) | Bd.A.10 Page No. 262 | Cubic Metre | 113.31
15 | Excavation | 21.37 | BDA 11 | Filling in plinth and floors with contractors material/brought from outside and approved by Engineer incharge in layers of 15 cm to 20 cm including watering and compaction etc. complete. (SSR 2020-21 item no. 21.37, Page No.152) | Bd.A.11 Page No. 263 | Cubic Metre | 1051.11
16 | Excavation | 21.38 | BDA 12 | Providing dry/ trap/ granite/ quartzite/ gneiss rubble stone soling 15 cm to 20 cm thick including hand packing and compacting etc. complete. (SSR 2020-21 item no. 21.38, Page No.152) | Bd.A. 12 Page No. 264 | Cubic Metre | 2051.75
17 | Excavation | 21.4 | BDA | Providing soling using 80 mm size trap metal in 15 cm. layer including filling voids with Crushed sand/grit, ramming, watering etc. complete. (SSR 2020-21 item no. 21.40, Page No.152) | As directed by Engineer in charge. | Cubic Metre | 2019.27
18 | Structural Steel Work | 23.01 | BDC 2 | Providing and fabricating structural steel work in rolled sections like joists, channels, angles, tees etc. as per detailed design and drawings or as directed including cutting, fabricating, hoisting, erecting, fixing in position making riveted / bolted /welded connections without connecting plates, braces etc. and including one coat of anticorrosive paint and over it two coats of oil painting of approved quality and shade etc. complete.(SSR 2020-21 item no. 23.01, Page No.167) | Bd.C.2 Page No. 275 | Metric Tonne | 78937.55
19 | Structural Steel Work | 23.02 | BDC 3 | Providing and fabricating structural steel work in rolled sections, fixed with connecting plates or angle cleats in main and cross beams, hip and jack rafters, purlins connecting to truss members and the like, as per detailed designs and drawing or as directed including cutting, fabricating, hoisting, erecting, fixing in position, making riveted/ bolted/ welded connections and one coat of anticorrosive paint and over it two coats of oil painting of approved quality and shade etc. complete.(SSR 2020-21 item no. 23.02, Page No.167) | Bd.C.3 Page No. 275 | Metric Tonne | 75297.22
20 | Structural Steel Work | 23.03 | BDC 6 | Providing structural steel work in single stanchions composed of R.S.J. Channel etc. with caps, bases, mild steel plated, angle brackets, cleats, gusset plates, anchor bolts etc. as per detailed designs and drawings or as directed including cutting, fabrication, hoisting, erecting fixing in position, making riveted/ bolted/ welded connection and one coat of anticorrosive paint and over it two. coats of oil painting approved quality and shade etc. complete.(SSR 2020-21 item no. 23.03, Page No.167) | Bd.C.6 Page No. 277 | Metric Tonne | 74926.12
21 | Structural Steel Work | 23.04 | BDC 8 | Providing structural steel work in trusses, other similar trussed purlins and members with all bracing, gusset plates etc. as per detailed designs and drawings or as directed including cutting, fabricating, hoisting, erecting fixing in position, Making riveted/ bolted/ welded connection and one coat of anticorrosive paint and over it 2 coats of oil painting approved quality and shade etc. complete.(SSR 2020-21 item no. 23.04, Page No.167) | Bd.C.8 Page No. 278 | Metric Tonne | 95451.05
22 | Structural Steel Work | 23.05 | BDC | Providing and fixing 50 mm. dia. medium class G.I.pipe gate with wicket gate of approved drawing with all fixtures and fittings in two leaves with strong hold fast embedded in c.c. block at top and bottom with locking arrangement including cutting, bending, making holes and with one coat of primer etc. complete. (SSR 2020-21 item no. 23.05, Page No.167) | As directed by Engineer in charge. | Square Metre | 6643.44
23 | Structural Steel Work | 23.07 | BDC | Providing, fabricating and erecting at site of work the tubular steel structure (shed) as per standard design and specifications having various spans in between trusses and in multiples of standard length of bays as specified as per standard specifications, inclusive of cost of steel tubular trusses, tubular columns purlins, tie runners, oundation bolts, base plates, nuts and bolts, welding wherever required etc. as per detailed drawing inclusive of one coat of anticorrosive paint and two coats of oil painting of approved quality and shade etc. complete. Spec. Number : As directed by Engineer-in- charge.(SSR 2020-21 item no. 23.07, Page No.168) | B-18 Page No. 78 | Metric Tonne | 88720.29
24 | Structural Steel Work | 23.09 | BDW 6A | Providing and fixing mild steel grill gate as per the detailed drawing including hinges, locking arrangements and painting in three coats of oil paint of approved colour and shade etc. complete.(weight 18 Kilogram. to 20 Kilogram. Per Sq.m.) Spec.Number: As directed by Engineer- in-charge.(SSR 2020-21 item no. 23.09, Page No.168) | Spec. No. As directed byEngineer in Charge. | Square Metre | 1992.72
25 | Plain Cement Concrete | 24.01 | BDE 1 | Providing and laying Cast in situ/Ready Mix cement concrete in M-10 of trap/ granite/ quartzite/ gneiss metal for foundation and bedding including bailing out water, Steel centering, formwork, laying/pumping, compacting, roughening them if special finish is to be provided, finishing if required and curing complete, (without using fully automatic micro processor based PLC with SCADA system ) but using reversible Drum Type mixer/concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade)(SSR 2020-21 item no. 24.01, Page No.169) | Bd. E. 1 Page No. 287 | Cubic Metre | 6477.75
26 | Plain Cement Concrete | 24.04 | BDE 2 | Providing and laying Cast in situ/Ready Mix cement concrete in M15 of trap/ granite/quartzite/gneiss metal for steps including steel centering, formwork, laying/pumping, compacting, roughening them if special finish is to be provided, finishing uneven and honeycombed surface and curing etc. complete. The Cement Mortar 1:3 plaster is considered for rendering uneven and honeycombed surface, only. Newly laid concrete shall be covered by gunny bag, plastic, tarpaulin etc. (Wooden centering will not be allowed.),(without using fully automatic micro processor based PLC with SCADA system ) but using reversible Drum Type mixer/concrete Batch mix plant (Pan mixer) etc. . complete. With fine aggregate (Crushed sand VSI Grade)(SSR 2020-21 item no. 24.04, Page No.169) | Bd.E.2 Page No. 288 and B.7 Page No 38 | Cubic Metre | 6828.8
27 | Plain Cement Concrete | 24.16 | BDE 3 | Providing and laying Cast in situ/Ready Mix cement concrete M-15 of trap/ granite/quartzite/gneiss metal for coping to plinth or parapet, moulded or chamfered as per drawing or as directed including steel centering, plywood/ steel formwork compacting, roughening them if special finish is to be provided, finishing uneven and honeycombed surface and curing etc. complete. The Cement Mortar 1:3 plaster is considered for rendering uneven and honeycombed surface only. Newly laid concrete shall be covered by gunny bag, plastic, tarpaulin etc. (Wooden centering will not be allowed.) With fine aggregate (Crushed sand VSI Grade)(SSR 2020- 21 item no. 24.16, Page No.171) | Bd.E. 3/Page No. 288/I.S. 456 (2000) | Cubic Metre | 6921.51
28 | Reinforced Cement Concrete | 25.11 | BDF 3 | Providing and laying in situ /Ready Mix cement concrete M-20 of trap / granite /quartzite/ gneiss metal for R.C.C. work in foundations like raft, strip foundations, grillage and footings of R.C.C. columns and steel stanchions etc. including bailing out water, Steel centering formwork, laying/pumping cover blocks, compaction and curing roughening the surface if special finish is to be provided (Excluding reinforcement and structural steel) etc. complete, (without using fully automatic micro processor based PLC with SCADA system ) but using reversible Drum Type mixer/concrete Batch mix plant (Pan mixer) etc. . complete. With fine aggregate (Crushed sand VSI Grade)(SSR 2020-21 item no. 25.11, Page No.172) | Bd.F.3 Page No. 298 and B.7, Page No.38 | Cubic Metre | 7434.42
29 | Reinforced Cement Concrete | 25.13 | BDF 3 | Providing and laying Cast in situ/Ready Mix cement concrete M-25 of trap / granite /quartzite/ gneiss metal for R.C.C. work in foundations like raft, strip foundations, grillage and footings of R.C.C. columns and steel stanchions etc. including bailing out water, Steel centering, formwork ,cover blocks, laying/pumping, compaction and curing roughening the surface if special finish is to be provided (Excluding reinforcement and structural steel) etc. complete, (without using fully automatic micro processor based PLC with SCADA system ) but using reversible Drum Type mixer/concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade)(SSR 2020-21 item no. 25.13, Page No.172) | Bd.F.3 Page No. 298 and B.7, Page No.38 | Cubic Metre | 7609.05
30 | Reinforced Cement Concrete | 25.15 | BDF 3 | Providing and laying Cast in situ/Ready Mix cement concrete M-30 of trap / granite /quartzite/ gneiss metal for R.C.C. work in foundations like raft, strip foundations, grillage and footings of R.C.C. columns and steel stanchions etc. columns as per detailed designs and drawing or as directed including Steel centering formwork, cover blocks laying/pumping, compaction finishing the formed surfaces with cement mortar 1:3 of sufficient minimum thickness to give a smooth and even surface or roughening if special finish is to be provided and curing etc. complete. (Excluding reinforcement and structural steel). (without using fully automatic micro processor based PLC with SCADA system ) but using reversible Drum Type mixer/concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade)(SSR 2020-21 item no. 25.15, Page No.172) | Bd.F.3 Page No. 298 and B.7, Page No.38 | Cubic Metre | 7783.69
31 | Reinforced Cement Concrete | 25.17 | BDF 3 | Providing and laying Cast in situ/Ready Mix cement concrete M-35 of trap / granite/quartzite/ gneiss metal for R.C.C. work in foundations like raft, strip foundations, grillage and footings of R.C.C. columns and steel stanchions etc. columns as per detailed designs and drawing or as directed including Steel centering, formwork, cover blocks, laying/pumping, compaction finishing the formed surfaces with cement mortar 1:3 of sufficient minimum thickness to give a smooth and even surface or roughening if special finish is to be provided and curing etc. complete,(Excluding reinforcement and structural steel).(without using fully automatic micro processor based PLC with SCADA system ) but using reversible Drum Type mixer/concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade)(SSR 2020-21 item no. 25.17, Page No.173) | Bd.F.3 Page No. 298 and B.7, Page No.38 | Cubic Metre | 7871.01
32 | Reinforced Cement Concrete | 26.07 | BDF 9 | Providing and laying Cast in situ/Ready Mixcement concrete M-25 of trap/ granite/ quartzite/ gneiss metal for R.C.C. chajja as per detailed design and drawings including steel centering, formwork, cover blocks, laying/pumping, compacting and roughening the surface if special finish is to be provided and curing complete. (Excluding reinforcement and structural steel). with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/ concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade)(SSR 2020-21 item no. 26.07, Page No.178) | Bd.F.9 Page No. 303 and B.7, Page No.38 | Cubic Metre | 13855.41
33 | Reinforced Cement Concrete | 26.19 | BDF 11 | Providing and laying Cast in situ/Ready Mix cement concrete in M-25 of trap/ granite/ quartzite/ gneiss metal for R.C.C. pardi of required thickness including steel centering, formwork, cover blocks, laying/pumping, compacting and roughening them if special finish is to be provided and curing complete. (Excluding reinforcement and structural steel).with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/ concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade)(SSR 2020-21 item no. 26.19, Page No.179) | Bd.F.11 Page No. 304 and B.7, Page No. 38 | Cubic Metre | 15633.99
34 | Reinforced Cement Concrete | 26.23 | BDF 12 | Providing and laying Cast in situ/Ready Mix cement concrete in M-20 of trap/ granite/ quartzite/ gneiss metal for R.C.C.coping to plinth or parapet and sill of doors and windows moulded as per detailed drawings or chamfered as approved by the Engineer including steel centering, formwork, cover blocks, laying/pumping, compacting , curing , finishing and roughening them if special finish is to be provided and curing complete. (Excluding reinforcement and structural steel).with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/ concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade)(SSR 2020-21 item no. 26.23, Page No.179) | Bd. F. 12 Page No. 304 and B-7, Pg 38 | Cubic Metre | 7516.54
35 | Reinforced Cement Concrete | 26.33 | BDF 17 | Providing and fixing in position TMT - FE - 500 bar reinforcement of various diameters for R.C.C. pile caps, footings, foundations, slabs, beams columns, canopies, staircase, newels, chajjas, lintels pardis, copings, fins, arches etc. as per detailed designs, drawings and schedules. including cutting, bending, hooking the bars, binding with wires or tack welding and supporting as required complete.(SSR 2020-21 item no. 26.33, Page No.182) | Bd.F.17, Page No. 306 | Metric Tonne | 67689.12
36 | Reinforced Cement Concrete | 26.34 | BDF 17 | Providing and fixing in position HCRM / CRS (Corrosion Resistant Steel) bar reinforcement of various diameters for R.C.C. pile caps, footings, foundations, slabs, beams columns, canopies, staircase, newels, chajjas, lintels pardis, copings, fins, arches etc. as per detailed designs, drawings and schedules. including cutting, bending, hooking the bars, binding with wires or tack welding and supporting as required complete.(SSR 2020- 21 item no. 26.34, Page No.182) | Bd.F.17, Page No. 306 | Metric Tonne | 72839.84
37 | Reinforced Cement Concrete | 26.46 | BDF 20 | Providing and fixing in position after hoisting, precast 1:2 cement mortar reinforced jali 50 mm thick with 3 mm diameter mild steel bar reinforcement, of approved design on both side, fixing in cement mortar 1:3 and curing etc. complete(SSR 2020-21 item no. 26.46, Page No.186) | Bd. F. 20 Page No. 307 | Square Metre | 879.42
38 | Reinforced Cement Concrete | 26.47 | BDF 20 | Providing and fixing in position after hoisting, precast 1:2 cement mortar reinforced jali 80 mm thick with 3 mm diameter mild steel bar reinforcement, of approved design on both sides, fixing in cement mortar 1:3 and curing etc .complete.(SSR 2020-21 item no. 26.47, Page No.186) | Bd. F. 20 Page No. 308 | Square Metre | 1188.15
39 | Brick Masonry | 27.01 | BDG 1 | Providing second class Burnt Brick masonry with conventional/ I.S. type bricks in cement mortar 1:6 in foundations and plinth of inner walls/ in plinth external walls including bailing out water manually , striking joints on unexposed faces, raking out joints on exposed faces and watering etc. Complete.(SSR 2020-21 item no. 27.01, Page no.189) | Bd.G. 1 Page No. 313 | Cubic Metre | 7890.35
40 | Brick Masonry | 27.05 | BDG 5 | Providing second class Burnt Brick masonry with conventional/ I.S. type bricks in cement mortar 1:6 in superstructure including striking joints, raking out joints, watering and scaffolding etc. Complete(SSR 2020-21 item no. 27.05, Page No.189) | Bd.G.5 Page No. 315 | Cubic Metre | 8109.68
41 | Brick Masonry | 27.06 | BDG 7 | Providing second class Burnt Brick masonry with conventional/ I.S. type bricks in cement mortar 1:4 in half brick thick wall including mild steel longitudinal reinforcement of 2 bars of 6 mm diameter / 2 hoop iron strips 25 mm X 1.6 mm placed at every third course, properly bent and bonded at ends scaffolding, racking out joints and watering etc. complete.(SSR 2020-21 item no. 27.06, Page No.189) | Bd.G.7 Page No. 316 | Square Metre | 1074.74
42 | Stone Masonry | 28.01 | BDH 1 | Providing uncoursed rubble masonry of trap / granite / quartzite / gneiss stones in cement mortar 1:6 in foundation and plinth of inner walls / in plinth of external walls including bailing out water manually , striking joints on un exposed faces and watering etc.complete. (SSR 2020-21 item no. 28.01, Page No.191) | Bd.H.1 Page No. 329 | Cubic Metre | 5415.22
43 | Stone Masonry | 28.04 | BDH 4 | Providing uncoursed rubble masonry of trap / granite / quartzite / gneiss stones in cement mortar 1:6 in superstructure including racking out joints when plastering is to be done / striking joints when no plastering is to be done on inside watering and scaffolding etc.complete. (SSR 2020-21 item no. 28.04, Page No.191) | Bd.H.4 Page No. 331 | Cubic Metre | 5899.62
44 | Water Proofing | 31.04 | BDJ | Providing cement based water proofing treatment to terraces (Indian water proofing or alike) with brick bats laid in required slope to drain the water for any span after cleaning the base surface. Applying a coat of cement slurry admixed with approved water proofing compound and laying the brick bats on bottom layer in C.M.1:5 admixed with approved water proofing compound filling up to half depth of brick bats, curing this layer for 3 days, applying cement slurry over this layer joints of brick bats with C.M.1:3 admixed with approved water proofing compound and finally top finishing with average 20 mm. thick layers of same mortar added with jute fiber at 1Kilogramper bag including finishing the surface smooth with cement slurry admixed with approved water proofing compound. Marking finished surface with false squares of 300mm x 300 mm. making the junctions at the parapet rounded and tapered top for required height, with drip mould at the junction of plaster and parapet and curing and covering 10 years Guarantee against leakproofness on Court fee stamp paper of Rs. 500/- including ponding test etc. complete.(SSR 2020-21 item no. 31.04, Page No.197) | As directed by Engineer in charge. | Square Metre | 1187.46
45 | Water Proofing | 31.05 | BDJ | Providing water proof bedding for flooring of Bath and WC 25 mm thick in C.M. 1:3 including using approved water proofing compound in specified proportion as per manufacturers specifications for per bag of cement including leveling, curing and covering 10 years guarantee on court fee stamp paper of Rs.500/- including ponding test etc. complete.(SSR 2020-21 item no. 31.05, Page No.197) | As directed by Engineer in charge. | Square Metre | 427.24
46 | Water Proofing | 31.06 | BDJ | Providing waterproof plaster in W.C. and bath 12 mm thick for dado in cement mortar 1:3 with neat finishing, floating using waterproofing compound at the rate of 1 Kilogram. per bag of cement of approved make and manufacturer and curing etc. complete. (Excluding Tiles) (As directed by Engineer in Charge)(SSR 2020-21 item no. 31.06, Page No.197) | As directed by Engineer in charge. | Square Metre | 376.93
47 | Water Proofing | 31.07 | BDJ | Providing waterproof plaster in W.C. and bath 20 mm thick for dado in cement mortar 1:3 with neat finishing, floating using waterproofing compound at the rate of 1 Kilogram. per bag of cement of approved make and manufacturer and curing (and filling joints of Nahani trap and any outlet by properly) etc. complete.(SSR 2020-21 item no. 31.07, Page No.198) | As directed by Engineer in charge. | Square Metre | 518.26
48 | Plastering and Pointing | 32.01 | BDL 1 | Providing internal cement plaster 6 mm thick in a single coat in cement mortar 1:4 without neeru finish to concrete surface in all positions including scaffolding and curing etc. complete.(SSR 2020-21 item no. 32.01, Page No.201) | Bd.L.1 Page No. 367 | Square Metre | 203.62
49 | Plastering and Pointing | 32.02 | BDL 1 | Providing internal cement plaster 6 mm thick in a single coat in cement mortar 1:3 without neeru finish to concrete surface in all positions including scaffolding and curing etc. complete.(SSR 2020-21 item no. 32.02, Page No.201) | Bd.L.1 Page No. 367 | Square Metre | 209.85
50 | Plastering and Pointing | 32.03 | BDL 2 | Providing internal cement plaster 12mm thick in single coat in cement mortar 1:5 without neeru finish to concrete or brick surfaces, in all positions including scaffolding and curing etc. complete.(SSR 2020-21 item no. 32.03, Page No.201) | Bd. L.2 Page No. 368 | Square Metre | 279.22
51 | Plastering and Pointing | 32.04 | BDL 2A | Providing internal cement plaster 12mm thick in single coat in cement mortar 1:4 without neeru finish to concrete or brick surfaces, in all positions including scaffolding and curing etc. complete.(SSR 2020-21 item no. 32.04, Page No.201) | Bd. L.2 Page No. 368 | Square Metre | 286.49
52 | Plastering and Pointing | 32.05 | BDL 2B | Providing internal cement plaster 12mm thick in single coat in cement mortar 1:3 without neeru finish to concrete or brick surfaces, in all position including scaffolding and curing etc. complete.(SSR 2020-21 item no. 32.05, Page No.201) | Bd.L.2 Page No. 368 | Square Metre | 296.89
53 | Plastering and Pointing | 32.06 | BDL 4 | Providing internal cement plaster 20mm thick in Single coats in cement mortar 1:5 without neeru finish, to concrete, brick surface, in all positions including scaffolding and curing etc. complete(SSR 2020-21 item no. 32.06, Page No.201) | Bd.L.4 Page No. 368 | Square Metre | 393.29
54 | Plastering and Pointing | 32.07 | BDL 4A | Providing internal cement plaster 20mm thick in Single coats in cement mortar 1:4 without neeru finish, to concrete, brick surface, in all positions including scaffolding and curing etc. complete(SSR 2020-21 item no. 32.07, Page No.201) | Bd.L.4 Page No. 368 | Square Metre | 400.56
55 | Plastering and Pointing | 32.08 | BDL 4B | Providing internal cement plaster 20mm. thick in Single coats in cement mortar 1:3 without neeru finish, to concrete, brick surface, in all positions including scaffolding and curing etc. complete.(SSR 2020-21 item no. 32.08, Page No.201) | Bd.L.4 Page No. 368 | Square Metre | 410.96
56 | Plastering and Pointing | 32.11 | BDL 7 | Providing sand faced plaster externally in cement mortar using approved screened sand, in all positions including base coat of 15 mm thick in cement mortar 1:4 using waterproofing compound at 1Kilogramper cement bag curing the same for not less than 2 days and keeping the surface of the base coat rough to receive the sand faced treatment 6 to 8 mm thick in cement mortar 1:4 finishing the surface by taking out grains and curing for fourteen days scaffolding etc.complete.(SSR 2020-21 item no. 32.11, Page No.201) | Bd.L.7 Page No. 369 | Square Metre | 649.2
57 | Plastering and Pointing | 32.12 | BDL 8 | Providing rough cast cement plaster externally in two coats to concrete, brick or stone masonry surfaces in all positions with base coat of 12 to 15 mm thick in C.M. 1:4 and rough cast treatment 12mm thick in proportion 1:1 1/2:3 including scaffolding and fourteen days curing complete.(SSR 2020-21 item no. 32.12, Page No.201) | Bd.L.8 Page No. 370 | Square Metre | 576.44
58 | Plastering and Pointing | 32.13 | BDL 9 | Providing rough cast cement plaster externally in two coats with coloured cement finish to concrete/ brick/ stone masonry surfaces in all positions with base coat 12 to 15 mm. thick in C.M. 1:4 using gray cement and rough cast treatment 12 mm thick in proportion of 1:1 1/2:3 using colour pigment including scaffolding and fourteen days curing etc. complete.(SSR 2020-21 item no. 32.13, Page No.201) | Bd.L.9, Page No.370 | Square Metre | 583.71
59 | Plastering and Pointing | 32.15 | BDL 10 | Providing neeru finish to plastered surfaces in all positions including scaffolding and curing etc. complete.(SSR 2020- 21 item no. 32.15, Page No.202) | Bd. L.10, Page No.370 | Square Metre | 60.29
60 | Plastering and Pointing | 32.17 | BDL 15B | Providing flush grooved pointing with cement mortar 1:3 for stone masonry work including scaffolding and curing etc. complete.(SSR 2020-21 item no. 32.17, Page No.202) | Bd. L.15 Page No. 372 | Square Metre | 178.09
61 | Plastering and Pointing | 32.18 | BDL 16 | Providing tuck pointing with cement mortar 1:3 for stone/Brick masonry including scaffolding and curing etc. complete.(SSR 2020-21 item no. 32.18, Page No.202) | Bd. L. 16 Page No. 373 | Square Metre | 176.58
62 | Plastering and Pointing | 32.19 | BDL 17 | Providing weathered pointing with cement mortar 1:3 for stone/ Brick masonary including scaffolding and curing etc. complete.(SSR 2020-21 item no. 32.19, Page No.202) | Bd. L. 17 Page No. 373 | Square Metre | 175.77
63 | Plastering and Pointing | 32.2 | BDL 18 | Providing vee pointing with cement mortar 1:3 for stone / Brick masonry including scaffolding and curing etc. complete(SSR 2020-21 item no. 32.20, Page No.202) | Bd. L. 18 Page No. 373 | Square Metre | 168.73
64 | Plastering and Pointing | 32.21 | BDL | Providing fine cement finish 1.5 mm thick over green plaster surface including scaffolding curing etc. complete. (SSR 2020-21 item no. 32.21, Page No.202) | As directed by Engineer in charge. | Square Metre | 68.61
65 | Paving Flooring and dado | 33.01 | BDM 1 | Providing and laying Rough Shahabad Stone Flooring 25mm to 30mm thick and of required width in plain/ diamond pattern on a bed of 1:6 C.M. including cement float, striking joints, pointing in cement mortar 1:3 curing and cleaning etc. complete.(SSR 2020-21 item no. 33.01, Page No.205) | Bd.M.1 Page No. 379 | Square Metre | 713.12
66 | Paving Flooring and dado | 33.02 | BDM 1A | Providing and laying Rough Shahabad Stone Flooring 40mm.to 45 mm. thick and of required width in plain/ diamond pattern on a bed of 1:6 C.M. including cement float, striking joints, pointing in cement mortar 1:3 curing and cleaning etc. etc. complete(SSR 2020-21 item no. 33.02, Page No.205) | Bd.M.1 Page No. 379 | Square Metre | 786.92
67 | Paving Flooring and dado | 33.03 | BDM 1B | Providing and laying Rough Shahabad Stone Flooring 50mm to 60mm thick and of required width in plain/ diamond pattern on a bed of 1:6 C.M. including cement float, striking joints, pointing in cement mortar 1:3 curing and cleaning etc. etc. complete.(SSR 2020-21 item no. 33.03, Page No.205) | Bd.M.1 Page No. 379 | Square Metre | 859.69
68 | Paving Flooring and dado | 33.04 | BDM 3 | Providing and laying Polished Shahabad Stone flooring 25mm to 30mm thick and required width wide in plain/ diamond pattern on a bed of 1:6 C.M. including cement float, filling joints, with neat cement slurry, curing, polishing and cleaning etc. complete.(SSR 2020-21 item no. 33.04, Page No.205) | Bd.M.3 Page No. 380 | Square Metre | 797.32
69 | Paving Flooring and dado | 33.05 | BDM 3A | Providing and laying Polished Tandur Stone flooring 25mm to 30mm thick required width in plain/ diamond pattern on a bed of 1:6 C.M. including cement float, filling joints with neat cement slurry, curing, polishing and cleaning etc. complete.(SSR 2020-21 item no. 33.05, Page No.205) | Bd.M.3 Page No. 380 | Square Metre | 1017.69
70 | Paving Flooring and dado | 33.06 | BDM 3B | Providing and laying machine cut machine Polished Kota stone flooring 25mm to 30mm thick and required width in plain/ diamond pattern on bed of 1:6 C. M. including cement float, filling joints with neat cement slurry, curing, polishing and cleaning etc. complete.(SSR 2020-21 item no. 33.06, Page No.205) | Bd.M.3 Page No. 380 | Square Metre | 1220.39
71 | Paving Flooring and dado | 33.07 | BDM | Providing and laying handcut polished Kotah Stone flooring 25mm to 30mm thick and 30cm wide in plain/diamond pattern on a bed of 1:6 C.M. including cement float, filling joints with neat cement slurry, curing, polishing and cleaning etc. complete.(SSR 2020-21 item no. 33.07, Page No.205) | Bd.M.3 Page No.380 | Square Metre | 1152.83
72 | Paving Flooring and dado | 33.08 | BDM | Providing and laying polished hand cut Kotah Stone flooring 25mm to 30mm thick and 45cm to 55cm wide in plain/diamond pattern on a bed of 1:6 C.M. including cement float, filling joints with neat cement slurry, curing, polishing and cleaning complete.(SSR 2020-21 item no. 33.08, Page No.205) | Bd.M.3 Page No.380 | Square Metre | 1283.8
73 | Paving Flooring and dado | 33.11 | BDM 6 | Providing and laying cement concrete flooring 40mm thick with M20 cement concrete laid to proper level and slope in alternate bays, including compaction, filling joints, marking lines to give appearance of tiles of 30cm x 30cm or other size laid diagonally/square etc. finishing smooth (with extra cement) in any colour as directed and Curing etc. complete. With Crushed sand VSI Grade(SSR 2020-21 item no. 33.11, Page No.206) | Bd.M.6 Page No. 381 | Square Metre | 545.91
74 | Paving Flooring and dado | 33.13 | BDM 7A | Providing and laying cement concrete flooring 50 mm thick with M15 cement concrete laid to proper level and slope in alternate bays including compaction filling joints, marking lines to give the appearance of tiles of 30cm x 30cm or other size laid diagonally/ square etc finishing smooth (with extra cement) in any colour as directed and curing etc. complete.with Crushed sand VSI Grade(SSR 2020-21 item no. 33.13, Page No.206) | Bd.M.7 Page No. 383 | Square Metre | 591.44
75 | Paving Flooring and dado | 33.15 | BDM 6A | Providing and laying cement concrete flooring 50mm thick with M20 cement concrete laid to proper level and slope in alternate bays including compaction, filling joints, marking lines to give the appearance of tiles of 30cm x 30cm or other size laid diagonally/ square etc. finishing smooth (with extra cement) in any colour as directed and curing etc. complete.with Crushed sand VSI Grade(SSR 2020-21 item no. 33.15, Page No.206) | Bd.M.6 Page No. 381 | Square Metre | 603.69
76 | Paving Flooring and dado | 33.18 | BDM 22B | Providing and laying machine cut machine polished machine cut Kota stone slabs 20 to 25 mm thick for treads and risers of steps and staircases, with rounded nosing for the treads on a bed of 1:4 cement mortar including cement float, filling joints with neat cement slurry, curing, polishing and cleaning etc. complete.(SSR 2020-21 item no. 33.18, Page No.207) | Bd.M.22 Page No. 390 | Square Metre | 1493.78
77 | Paving Flooring and dado | 33.19 | BDM 29B | Providing sills of polished Kota stone 25 mm to 30mm thick, on a bed of 1:4 cement mortar including cement float, filling joints with slurry, curing,moulding edges, polishing and cleaning etc. complete.(SSR 2020-21 item no. 33.19, Page No.207) | Bd.M.29 Page No. 391 | Square Metre | 1219.36
78 | Paving Flooring and dado | 33.2 | BDM 29C | Providing sills of polished Kadappa stone 25mm to 30mm thick, on a bed of 1:4 cement mortar including cement float, filling joints with slurry, curing polishing and cleaning etc. complete.(SSR 2020-21 item no. 33.20, Page No.207) | Bd.M.29 Page No. 391 | Square Metre | 1065.98
79 | Paving Flooring and dado | 33.24 | BDM 12 | Providing and laying matt finish ceramic tiles of having size 30 cm x 30 cm confirming to I.S.15622/2006 (group D II-A) and 7 to 8 mm thick for flooring in required position laid on a bed of 1:4 cement mortar including cement float, filling joint with white/colour cement slurry cleaning curing etc. complete.(SSR 2020-21 item no. 33.24, Page No.207) | Bd.M.12 Page No. 385. | Square Metre | 1139.45
80 | Paving Flooring and dado | 33.25 | BDM 13 | Providing and laying ceramic tiles of having size 30 cm. x 30 cm. and confirming to corresponding I.S. for dado and skirting in required position with readymade adhesive mortar of approved quality on plaster of 1:2 cement mortar including joint filling with white/ colour cement slurry cleaning curing etc. complete.(SSR 2020-21 item no. 33.25, Page No.207) | Bd.M.13 Page No. 386. | Square Metre | 1209.1
81 | Paving Flooring and dado | 33.32 | BDM 35 | Providing 25 mm to 30 mm thick partition of polished black kadappa stone slab of approved quality including giving required size and shape etc. Fixing in cement mortar 1:3 curing and cement etc. complete. a) One side polish(SSR 2020-21 item no. 33.52, Page No.208) | Bd.M.35 B/P No.393 | Square Metre | 960.36
82 | Paving Flooring and dado | 33.38 | BDM 35 | Providing and preparing kitchen otta up to 75 cm width,made up from 30 mm thick and 75 cm high vertical support for kadppa at 1 m. c/c of 25 mm thick both side polished kadappa middle shelf and bottom of 20 mm thick one side polished kadappa with facia patti of 20 x 50 mm kadappa including all material labour cutting fixing with cement mortar and araldite curing polished and cleaning etc. complete.(SSR 2020-21 item no. 33.38, Page No.209) | Bd.M.35C / Page No. 393 | Square Metre | 2708.8
83 | Paving Flooring and dado | 33.48 | BDM 12 | Providing and fixing green marble of 18 to 20 mm thick for door frame/ dado/ window boxing etc. On C.M. 1:6 including filling joints with polymer base filler nosing / moulding the sharp edges wherever necessary, curing, etc. complete.(SSR 2020-21 item no. 33.48, Page No.210) | Bd. M. 12 | Square Metre | 2346.64
84 | Paving Flooring and dado | 33.49 | BDM | Providing and fixing heavy duty inter locking concrete Grey paving blocks of 60 mm thickness of having a strength of 300 Kilogram/Sq.cm. of approved quality and shape on a bed of crushed sand of 25 to 30 mm thick including skirting joints and cleaning etc. complete.(SSR 2020-21 item no. 33.49, Page No.210) | A directed by Engineer in charge | Square Metre | 965.45
85 | Paving Flooring and dado | 33.5 | BDM | Providing and fixing heavy duty inter locking concrete Grey paving blocks of 80 mm thickness of having a strength of 300 Kilogram/Sq.cm. of approved quality and shape on a bed of crushed sand of 25 to 30 mm thick including skirting joints and cleaning etc. complete.(SSR 2020-21 item no. 33.50, Page No.210) | A directed by Engineer in charge | Square Metre | 1069.4
86 | Paving Flooring and dado | 33.51 | BDM | Providing and fixing heavy duty inter locking concrete Coloured paving blocks of 60 mm thickness of having a strength of 300 Kilogram/Sq.cm. of approved quality and shape on a bed of crushed sand of 25 to 30 mm thick including skirting joints and cleaning etc. complete(SSR 2020-21 item no. 33.51, Pg. No.210) | A directed by Engineer in charge | Square Metre | 925.95
87 | Paving Flooring and dado | 33.52 | BDM | Providing and fixing heavy duty inter locking concrete Coloured paving blocks of 80 mm thickness of having a strength of 300 Kilogram/Sq.cm. of approved quality and shape on a bed of crushed sand of 25 to 30 mm thick including skirting joints and cleaning etc. complete(SSR 2020-21 item no. 33.52, Page No.210) | As directed by Engineer in charge | Square Metre | 1200.38
88 | Paving Flooring and dado | 33.55 | BDM | Providing and fixing heavy duty inter locking concrete Coloured paving blocks of 40 mm thickness of having a strength of 200 Kilogram/Sq.cm. of approved quality and shape on a bed of crushed sand of 25 to 30 mm thick including skirting joints and cleaning etc. complete.(SSR 2020-21 item no. 33.55, Page No.211) | As directed by Engineer in charge | Square Metre | 876.05
89 | Paving Flooring and dado | 33.66 | BDM | Providing and laying chequered tiles of approved quality of size 30 cm x 30 cm, confirming to corresponding I.S. for flooring in required position laid on a bed of 1:4 cement mortar including cement float, filling joint with cement slurry cleaning curing etc. complete.(SSR 2020-21 item no. 33.66, Page No.212) | Bd. M-12 page No. 385 | Square Metre | 719.83
90 | Oil Painting | 35.01 | BDO 1 | Providing and applying two coats of lead/zinc base oil paint/ bituminous paint of approved colour and shade to new wood work and fiber boards including preparing the surface, knotting, scaffolding if necessary, excluding primer coat etc. complete.(SSR 2020-21 item no. 35.01, Page No.215) | Bd.O. 1 Page No. 403 | Square Metre | 85.24
91 | Oil Painting | 35.02 | BDO 2 | Providing and applying one coat of lead/zinc base oil paint/ bituminous paint of approved colour and shade to old wood work previously painted and fiber boards including if necessary scaffolding, preparing surface excluding primer coat etc. complete.(SSR 2020-21 item no. 35.02, Page No.215) | Bd.0.2 Page No. 404 | Square Metre | 44.7
92 | Oil Painting | 35.03 | BDO 2A | Providing and applying two coats of lead/zinc base oil paint/bituminious paint of approved colour and shade to old wood work and fiber boards previously painted including if necessary scaffolding, preparing the surface excluding priming coat etc. complete.(SSR 2020-21 item no. 35.03, Page No.215) | Bd.0.2 Page No. 404 | Square Metre | 69.65
93 | Oil Painting | 35.04 | BDO 3 | Providing and applying two coats of lead/zinc base oil paint/ bituminious paint of approved colour to new structural steel work and iron work in buildings including scaffolding if necessary, cleaning and preparing the surface etc. complete. (excluding primer coat).(SSR 2020-21 item no. 35.04, Page No.215) | Bd.0.3 Page No. 404 | Square Metre | 85.24
94 | Oil Painting | 35.05 | BDO 4 | Providing and applying one coat of aluminium paint of approved make to new structural steel work in building and workshop including scaffolding if necessary, cleaning and preparing surface (excluding primer coat) etc. complete.(SSR 2020-21 item no. 35.05, Page No.215) | Bd.O.4 Page No. 405 | Square Metre | 70.69
95 | Oil Painting | 35.06 | BDO 4A | Providing and applying 2 coats of alluminium paint of approved make to new structural steel work in buildings and workshops including scaffolding if necessary, cleaning and preparing the surface (excluding primer coat)etc. complete.(SSR 2020-21 item no. 35.06, Page No.215) | Bd.0.4 Page No. 405 | Square Metre | 107.07
96 | Oil Painting | 35.07 | BDO 5 | Providing and applying two coats of synthetic enamel paint of approved colour to new /old structural steel work and wood work in buildings, including scaffolding if necessary, cleaning and preparing the surface (excluding primer coat) etc. complete.(SSR 2020-21 item no. 35.07, Page No.215) | Bd.O.5 Page No. 405 | Square Metre | 83.16
97 | Oil Painting | 35.08 | BDO 6 | Providing and applying one coat of flat oil paint of approved colour to the old structural steel work and iron work previously painted in building including scaffolding, if necessary, cleaning and preparing surface (excluding primer coat) etc. complete.(SSR 2020-21 item no. 35.08, Page No.215) | Bd.0.6 Page No. 406 | Square Metre | 55.09
98 | Oil Painting | 35.09 | BDO 6A | Providing and applying two coats of flat oil paint of approved colour to the old structural steel work and iron work previously painted in building including scaffolding, if necessary, cleaning and preparing the surface (excluding primer coat) etc. complete.(SSR 2020- 21 item no. 35.09, Page No.215) | Bd.0.6 Page No. 406 | Square Metre | 81.08
99 | Oil Painting | 35.1 | BDO 7 | Providing and applying one coat of flat oil paint of approved colour and shade to internal / external plastered surfaces including scaffolding if necessary, cleaning and preparing the surface (excluding primer coat) etc. complete.(SSR 2020-21 item no. 35.10, Page No.215) | Bd.0.7 Page No. 406 | Square Metre | 50.94
100 | Oil Painting | 35.11 | 0 | Providing and applying two coats (exterior quality) of flat oil paint of approved colour and shade to the plastered surface in buildings and workshops including scaffolding if necessary, cleaning the surface and preparing surface etc. complete. (excluding primer coat)(SSR 2020-21 item no. 35.11, Page No.216) | As directed by Engineer- in- charge. | Square Metre | 84.2
101 | Oil Painting | 35.12 | BDO 7A | Providing and applying two coats of flat oil paint of approved colour and shade to internal / external plastered surfaces including scaffolding if necessary, cleaning and preparing the surface (excluding primer coat) etc. complete.(SSR 2020-21 item no. 35.12, Page No.216) | Bd.O.7 Page No. 406 | Square Metre | 96.67
102 | Oil Painting | 35.13 | BDO 8 | Providing and applying two coats of water proof cement paint of approved manufacture and of approved colour to the plastered surfaces including scaffolding if necessary, cleaning and preparing the surface, watering for two days etc. complete.(SSR 2020-21 item no. 35.13, Page No.216) | Bd.0.8 Page No. 406 | Square Metre | 74.84
103 | Oil Painting | 35.14 | 0 | Providing and applying two coats of water proof cement paint of approved manufacture and of approved colour to old plastered surfaces including scaffolding if necessary, cleaning and preparing the surface, watering for two days etc. complete.(SSR 2020-21 item no. 35.14, Page No.216) | As directed by Engineer- in- charge. | Square Metre | 75.88
104 | Oil Painting | 35.15 | 0 | Providing and applying three coats of water proof cement paint of approved manufacture and of approved colour to new plastered surfaces including scaffolding if necessary, cleaning and preparing the surface, watering for two days etc. complete.(SSR 2020-21 item no. 35.15, Page No.216) | Spec.No.: Bd.O.8/Page No.406 | Square Metre | 98.75
105 | Oil Painting | 35.16 | 0 | Providing and applying three coats of water proof cement paint of approved manufacture and of approved colour to old plastered surfaces including scaffolding if necessary, cleaning and preparing the surface, watering for two days etc. complete.(SSR 2020-21 item no. 35.16, Page No.216) | Spec.No.: Bd.O.8/Page No.406 | Square Metre | 91.48
106 | Oil Painting | 35.18 | BDO 8B | Removing old paint from steel and other metal surfaces and making the surfaces even with hand scrapping, scaffolding etc. complete.(SSR 2020-21 item no. 35.18, Page No.216) | As directed by Engineer in charge. | Square Metre | 16.63
107 | Oil Painting | 35.19 | BDO 8C | Providing and applying priming coat over new wood and wood based surfaces, including preparing the surface by thoroughly cleaning oil, grease, dirt and other foreign matter, sand papering and knotting, scaffolding etc. complete.(SSR 2020-21 item no. 35.19, Page No.216) | As directed by Engineer in charge. | Square Metre | 30.15
108 | Oil Painting | 35.2 | BDO 8D | Providing and applying priming coat over new/old steel and other metal surfaces including preparing the surface by thoroughly cleaning oil, grease, dirt and other foreign matter and scoured with wire brushes, fine steel wool, scrappers and sand paper, scaffolding etc. complete.(SSR 2020-21 item no. 35.20, Page No.216) | As directed by En-gineer in charge. | Square Metre | 33.26
109 | Oil Painting | 35.21 | BDO 8E | Providing and applying priming coat on concrete/ masonary/ Asbestos Cement plastered surfaces including scaffolding if necessary, preparing the surface by thoroughly cleaning oil, grease, dirt and other foreign matter and sand papering as required etc. complete.(SSR 2020-21 item no. 35.21, Page No.216) | As directed by Engineer in charge. | Square Metre | 35.34
110 | Oil Painting | 35.25 | BDO | Providing and applying two coats of exterior acraylic emulsion paint confirming to corresponding I.S. of approved manufacture and of approved colour to the plastered surfaces including cleaning ,preparing the plaster surface, applying primer coat ,scaffolding if necessary , and watering the surface for two days etc complete.(SSR 2020-21 item no. 35.25, Page No.217) | As directed by Engineer in charge. | Square Metre | 226.61
111 | Colouring | 36.02 | BDP 1 | Providing and applying white-wash in one coat on old / new plastered or masonry surfaces and asbestos cement sheets including scaffolding and preparing the surface by brushing and brooming down etc. complete.er coat ,scaffolding if necessary , and watering the surface for two days etc complete.(SSR 2020-21 item no. 36.02, Page No.218) | Bd.P.1 Page No. 411 | Square Metre | 7.28
112 | Colouring | 36.03 | BDP 1A | Providing and applying white-wash in two coats on old / new plastered or masonry surfaces and asbestos cement sheets including scaffolding and preparing the surface by brushing and brooming down etc. complete.(SSR 2020-21 item no. 36.03, Page No.218) | Bd. P. I Page No. 411 | Square Metre | 10.4
113 | Colouring | 36.04 | BDP 2 | Providing and applying colour-wash of approved colour and shade in one coat to new surface including scaffolding, brushing and brooming down (excluding base coats of white wash) etc. complete.(SSR 2020-21 item no. 36.04, Page No.216) | Bd. P.2 Page No. 412 | Square Metre | 8.32
114 | Colouring | 36.05 | BDP 2A | Providing and applying colour-wash of approved colour and shade in two coats to new surface including scaffolding, brushing and brooming down (excluding base coat of white- wash) etc. complete.(SSR 2020-21 item no. 36.05, Page No.218) | Bd.P.2 Page No. 412 | Square Metre | 16.63
115 | Colouring | 36.06 | BDP 3 | Providing and applying colour-wash of approved colour and shade in one coat to old surfaces which are to be recoloured including scaffolding, brushing and brooming down. (excluding base coat of white wash) etc. complete.(SSR 2020-21 item no. 36.06, Page No.218) | Bd.P.3 Page No. 412 | Square Metre | 7.28
116 | Colouring | 36.07 | BDP 3A | Providing and applying colour-wash of approved colour and shade in one coat to old surfaces which are to be recoloured including scaffolding, brushing and brooming down. (excluding base coat of white wash) etc. complete.(SSR 2020-21 item no. 36.07, Page No.218) | Bd.P.3 Page No. 412 | Square Metre | 14.55
117 | Colouring | 36.08 | BDP 4 | Providing and applying washable powder distemper of approved colour and shade to old and new surfaces in one coat including scaffolding, preparing the surfaces (excluding the priming coat)etc. complete.(SSR 2020-21 item no. 36.08, Page No.218) | Bd.P.4 Page No. 413 | Square Metre | 17.67
118 | Colouring | 36.09 | BDP 4A | Providing and applying washable powder distemper of approved colour and shade to old and new surfaces in two coats including scaffolding, preparing the surfaces. (excluding the primer coat) etc .complete.(SSR 2020-21 item no. 36.09, Page No.218) | Bd. P.4 Page No. 413 | Square Metre | 27.03
119 | Colouring | 36.1 | BDP 5 | Providing and applying washable oil-bound distemper of approved colour and shade to old and new surfaces in one coat including scaffolding, preparing the surfaces. (excluding the primer coat.)etc. complete.(SSR 2020-21 item no. 36.10, Page No.218) | Bd. P.5 Page No. 413 | Square Metre | 30.15
120 | Colouring | 36.11 | BDP 5A | Providing and applying washable oil-bound distemper of approved colour and shade to old and new surfaces in two coats including scaffolding, preparing the surfaces. (excluding the primer coat.) etc. complete.(SSR 2020-21 item no. 36.11, Page No.218) | Bd.P.5 Page No. 413 | Square Metre | 44.7
121 | Roofing and Ceiling | 38.04 | BdR 5 | Providing and fixing corrugated galvanised iron sheets of 0.63mm thick (24 B.W.G.) for roofing without wind tiles including fastening with galvanised iron screws and bolts, lead and bitumen washers as per drawing etc. complete.(Weight of 5.5 Kilogram/sq.m.). (SSR 2020-21 item no. 38.04, Page No.224) | Bd.R.5, Page Number 453 | Square Metre | 807.69
122 | Roofing and Ceiling | 38.05 | BDR 5 | Providing and fixing plain zinc sheeting of 0.80 mm thick (22 B.W.G.) over the ridge hip or valley to galvanized iron sheet roofing including all fastening and bolt galvanised iron screws and bolts, lead and bitumen washers etc. complete.(Weight of 6.8 Kilogram/sq.m.).(SSR 2020-21 item no. 38.05, Page No.224) | Bd.R.5, Page No. 453 | Square Metre | 1073.8
123 | Roofing and Ceiling | 38.06 | BDR 7 | Providing and fixing 6.00 mm thick ISI mark Asbestos Cement Corrugated sheet roofing including galvanised iron ’J’or ’L’hook bolts galvanised iron band bituminous G.I. washers, galvanised iron clamps, bolts, nuts and scaffolding etc. complete.(SSR 2020-21 item no. 38.06, Page No.224) | Bd. R.7, Page No. 453 | Square Metre | 398.13
124 | Roofing and Ceiling | 38.07 | BDR 9 | Providing and fixing 6 mm thick ISI mark Asbestos Cement ridge capping for roofing including galvanised iron hooks, bolts, galvanised iron and bituminous washers, galvanised iron clamps, bolts, nuts including scaffolding etc. complete.(SSR 2020-21 item no. 38.07, Page No.224) | Bd.R.9, Page No. 455 | Running Metre | 583.16
125 | Roofing and Ceiling | 38.26 | BDR | Removing G.I. or A.C. sheet roofing including purlins, principal rafters etc. including sorting serviceable and unserviceable materials, stacking the same as and where directed in the compound including scaffolding etc. complete. (SSR 2020-21 item no. 38.26, Page No.226) | As directed by Engineer in charge. | Square Metre | 85.24
126 | Doors and Windows | 39.01 | BDT | Providing and fixing frame with / without ventilator of size as specified with Country cut teak wood for doors and windows including chamfering, rounding, rebating, iron holdfast of size 300mm x 40mm x 5mm with oil painting, etc. complete(SSR 2020-21 item no. 39.01, Page No.235) | As directed by Engineer in charge. | Cubic metre | 181648.47
127 | Doors and Windows | 39.02 | BDT | Providing and fixing frame with / without ventilator of size as specified with Country non teak wood for doors and windows including chamfering, rounding, rebating, iron holdfast of size 300mm x 40mm x 5mm with oil painting, etc. complete.(SSR 2020-21 item no. 39.02, Page No.235) | As directed by Engineer in charge. | Cubic metre | 99292
128 | Doors and Windows | 39.1 | BDT-36 | Providing and fixing solid core flush door shutter commercial in single leaf 32 mm thick without ventilator commercial type of exterior grade as per detailed drawings with wrought iron hold fast, stainless steel fixtures and fastenings and handles on both sides and finishing with oil painting 3 coats complete.(SSR 2020- 21 item no. 39.10, Page No.236) | BD-T-36 Page No. 500 | Square Metre | 2598.75
129 | Doors and Windows | 39.24 | BDT-55 | Providing and fixing rolling shutter fabricated from steel laths of minimum thickness 0.9 mm with lock plate of 3.15 mm thickness reinforced with 35 x 35 x 5 mm angle section fitted with sliding bolts and handles for both sides, deep M.S. channel section of depth and thickness not less than 65 mm and 3.15 mm respectively with hold fast arrangements, M.S. Bracket plate 300 x 300 x 3.15 mm minimum size and shape with square bar, suspension shaft of minimum 32 mm diameter, hood cover of M.S. sheet not less than 0.9 mm thickness and of any size at top and safety devices including mechanical gear operation arrangement consisting of worm gear wheels and worms of high grade cast iron or mild steel and one coat of red lead primer etc. complete. (I.S. 62481979) (Without mechanical gear)(SSR 2020-21 item no. 39.24, Page No.238) | BD-T-55 Page No. 510 | Square Metre | 4245.32
130 | Doors and Windows | 39.26 | BDT-57 | Providing and fixing collapsible steel gate in one / two leaves with hot rolled vertical channels of 18 x 9 x 3 mm minimum size, crossings of M.S. flats of size 18 x 5 mm T or E section for runner of minimum 40 x 6 mm size for flange, M.S. flat for top runner of minimum size 40 x 12 mm with roller wheels confirming to grade F.G. 150 fitted with snap headed rivets of minimum size 6 mm max. spacing of vertical channels be 100 mm enclosed gate position and clear space of 150 mm between two sets of crossings with hold fasts, stoppers, spaces, handles, locking arrangement and one coat of red lead primer and oil painting etc. complete. (I.S. 105211983).(SSR 2020-21 item no. 39.26, Page No.238) | BD-T-57 Page No. 511 | Square Metre | 3187.11

## Table 2
Sr. No | Chapter | SSR Item No. | Reference No. | Description of the item | Additional Specification | Unit | Completed Rates
131 | Doors and Windows | 39.38 | BDT | Providing and fixing in position. (as per I.S.1868 / 1982) Aluminium sliding window of two tracks with rectangular pipe having overall dimension 63.50 x 38.10 x 1.02 mm at weight 0.547 Kilogram/Running metre. and window frame bottom track section 61.85 x 31.75 x 1.20 mm at weight 0.695 Kilogram/Running metre. Top and side track section 61.85 x 31.75 x1.30 mm at weight 0.659 Kilogram/Running metre. The shutter should be of bearing bottom 40 x 18 x 1.25 mm at weight 0.417 Kilogram/Running metre. Inter locking section 40 x 18 x 1.10 mm at weight 0.469 Kilogram/Running metre. And handle section 40 x 18 x 1.25 mm at weight 0.417 Kilogram/Running metre. and top section 40 x 18 x 1.25 mm at weight 0.417 Kilogram/Running metre. As per detailed drawings and as directed by Engineer in charge with all necessary Aluminium sections fixtures and fastenings such as roller bearing in nylon casting and self locking catch fitted in vertical section of shutter including 5 mm thick plain glass with all required screws and nuts etc, complete. With colour Anodising without box(SSR 2020-21 item no. 39.38, Page No.240) | As directed by Engineer in charge. | Square Metre | 5480.24
132 | Doors and Windows | 39.39 | BDT | Providing and fixing in position. (as per I.S.1868 / 1982) Aluminium sliding window of two tracks with rectangular pipe having overall dimension 63.50 x 38.10 x 1.02 mm at weight 0.547 Kilogram/Running metre. and window frame bottom track section 61.85 x 31.75 x 1.20 mm at weight 0.695 Kilogram/Running metre. Top and side track section 61.85 x 31.75 x 1.30 mm at weight 0.659 Kilogram/Running metre. The shutter should be of bearing bottom 40 x 18 x 1.25 mm at weight 0.417 Kilogram/Running metre. Inter locking section 40 x 18 x 1.10 mm at weight 0.469 Kilogram/Running metre. And handle section 40 x 18 x 1.25 mm at weight 0.417 Kilogram/Running metre. and top section 40 x 18 x 1.25 mm at weight 0.417 Kilogram/Running metre. As per detailed drawings and as directed by Engineer in charge with all necessary Aluminium sections fixtures and fastenings such as roller bearing in nylon casting and self locking catch fitted in vertical section of shutter including 5 mm thick plain glass with all required screws and nuts etc, complete. With powder coating with box(SSR 2020-21 item no. 39.39, Page No.241) | As directed by Engineer in charge. | Square Metre | 4983.36
133 | Doors and Windows | 39.4 | BDT | Providing and fixing in position. (as per I.S.1868 / 1982) Aluminium sliding window of two tracks with rectangular pipe having overall dimension ?63.50 x 38.10 x 1.02 mm at weight 0.547 Kilogram/Running metre. and window frame bottom track section 61.85 x 31.75 x 1.20 mm at weight 0.695 Kilogram/Running metre. Top and side track section 61.85 x 31.75 x 1.30 mm at weight 0.659 Kilogram/Running metre. The shutter should be of bearing bottom 40 x 18 x 1.25 mm at weight 0.417 Kilogram/Running metre. Inter locking section 40 x 18 x 1.10 mm at weight 0.469 Kilogram/Running metre. And handle section 40 x 18 x 1.25 mm at weight 0.417 Kilogram/Running metre. and top section 40 x 18 x 1.25 mm at weight 0.417 Kilogram/Running metre. As per detailed drawings and as directed by Engineer in charge with all necessary Aluminium sections fixtures and fastenings such as roller bearing in nylon casting and self locking catch fitted in vertical section of shutter including 5 mm thick plain glass with all required screws and nuts etc, complete. With powder coating without box(SSR 2020- 21 item no. 39.40, Page No.241) | As directed by Engineer in charge. | Square Metre | 4957.38
134 | Doors and Windows | 39.41 | BDT | Providing and fixing in position (as per 1868 / 1982) Alluminium sliding window of three tracks with rectangular pipe 95 x 38.10 x 0.90 mm at weight 0.637 Kilogram/Running metre. with window frame bottom track section 92 x 31.75 x 1.30 mm at weight 1.070 Kilogram/Running metre.. Top and side track section 92 x 31.75 x 1.30 mm at weight 0.933 Kilogram/Running metre. The shutter should be of bearing bottom 40 x 18 x 1.25 mm at weight 0.417 Kilogram/Running metre. Inter locking section 40 x 18 x 1.10 mm at weight 0.469 Kilogram/Running metre. and handle and top section 40 x 18 x 1.25 mm at weight o.417 Kilogram/Running metre. As per detailed drawings and as directed by Engineerincharge with all necessary Aluminium sections fixtures and fastenings such as roller bearing in nylon casting and self locking catch fitted in vertical section of shutter including 5 mm thick plain glass and aluminium mosquito net shutter with stainless steel jail with all required screws and nuts etc, complete. With colour Anodising with box(SSR 2020-21 item no. 39.41, Page No.242) | As directed by Engineer in charge. | Square Metre | 6056.13
135 | Doors and Windows | 39.42 | BDT | Providing and fixing in position (as per 1868 / 1982) Aluminium sliding window of three tracks with rectangular pipe 95 x 38.10 x 0.90 mm at weight 0.637 Kilogram/Running metre. with window frame bottom track section 92 x 31.75 x 1.30 mm at weight 1.070 Kilogram/Running metre.. Top and side track section 92 x 31.75 x 1.30 mm at weight 0.933 Kilogram/Running metre. The shutter should be of bearing bottom 40 x 18 x 1.25 mm at weight 0.417 Kilogram/Running metre. Inter locking section 40 x 18 x 1.10 mm at weight 0.469 Kilogram/Running metre. and handle and top section 40 x 18 x 1.25 mm at weight o.417 Kilogram/Running metre. As per detailed drawings and as directed by Engineerincharge with all necessary Aluminium sections fixtures and fastenings such as roller bearing in nylon casting and self locking catch fitted in vertical section of shutter including 5 mm thick plain glass and aluminium mosquito net shutter with stainless steel jail with all required screws and nuts etc, complete. With colour Anodising without box(SSR 2020-21 | As directed by Engineer in charge. | Square Metre | 5687.1
136 | Doors and Windows | 39.43 | BDT | Providing and fixing in position (as per 1868 / 1982) Aluminium sliding window of three tracks with rectangular pipe 95 x 38.10 x 0.90 mm at weight 0.637 Kilogram/Running metre. with window frame bottom track section 92 x 31.75 x 1.30 mm at weight 1.070 Kilogram/Running metre.. Top and side track section 92 x 31.75 x 1.30 mm at weight 0.933 Kilogram/Running metre. The shutter should be of bearing bottom 40 x 18 x 1.25 mm at weight 0.417 Kilogram/Running metre. Inter locking section 40 x 18 x 1.10 mm at weight 0.469 Kilogram/Running metre. and handle and top section 40 x 18 x 1.25 mm at weight o.417 Kilogram/Running metre. As per detailed drawings and as directed by Engineerincharge with all necessary Aluminium sections fixtures and fastenings such as roller bearing in nylon casting and self locking catch fitted in vertical section of shutter including 5 mm thick plain glass and aluminium mosquito net shutter with stainless steel jail with all required screws and nuts etc, complete. With powder coating with box(SSR 2020-21 item no. 39.43, Page No.243) | As directed by Engineer in charge. | Square Metre | 5360.7
137 | Doors and Windows | 39.44 | BDT | Providing and fixing in position (as per 1868 / 1982) Aluminium sliding window of three tracks with rectangular pipe 95 x 38.10 x 0.90 mm at weight 0.637 Kilogram/Running metre. with window frame bottom track section 92 x 31.75 x 1.30 mm at weight 1.070 Kilogram/Running metre.. Top and side track section 92 x 31.75 x 1.30 mm at weight 0.933 Kilogram/Running metre. The shutter should be of bearing bottom 40 x 18 x 1.25 mm at weight 0.417 Kilogram/Running metre. Inter locking section 40 x 18 x 1.10 mm at weight 0.469 Kilogram/Running metre. and handle and top section 40 x 18 x 1.25 mm at weight o.417 Kilogram/Running metre. As per detailed drawings and as directed by Engineerincharge with all necessary Aluminium sections fixtures and fastenings such as roller bearing in nylon casting and self locking catch fitted in vertical section of shutter including 5 mm thick plain glass and aluminium mosquito net shutter with stainless steel jail with all required screws and nuts etc, complete. With powder coating without box(SSR 2020-21 item no. 39.44, Page No.243) | As directed by Engineer in charge. | Square Metre | 5056.13
138 | Doors and Windows | 39.45 a | BDT | a) Supplying and fixing in position Colour anodized Aluminium four track sliding windows with outer frame made from section of over all size 122 mm x 45 mm, bottom section with drain section track weighing 1.83Kilogramper metre and top and side section of size 122x 31.75 mm weighing 1.15Kilogramper running metre with shutter sections made of 18 mm x 40 mm size having average weight of 0.6Kilogramper running metre (or as required size) with change in proportionate weight, with 6 mm float glass in three equal panels and alluminium coated stainless steel mosquito net in one (2/3 of opening) panel fixed with new neoprene gasket, shutters to be provided with nylon encased stainless steel rollers, necessary locks and handles complete.(SSR 2020-21 item no. 39.45a, Page No.244) | As directed by Engineer in charge. | Square Metre | 7340.95
139 | Doors and Windows | 39.45 b | BDT | b) Supplying and fixing in position Powder Coated Aluminium four track sliding windows with outer frame made from section of over all size 122 mm x 45 mm, bottom section with drain section track weighing 1.83Kilogramper metre and top and side section of size 122x 31.75 mm weighing 1.15Kilogramper running metre with shutter sections made of 18 mm x 40 mm size having average weight of 0.6Kilogramper running metre (or as required size) with change in proportionate weight, with 6 mm float glass in three equal panels and alluminium coated stainless steel mosquito net in one (2/3 of opening) panel fixed with new neoprene gasket, shutters to be provided with nylon encased stainless steel rollers, necessary locks and handles complete.(SSR 2020-21 item no. 39.45b, Page No.244) | As directed by Engineer in charge. | Square Metre | 6521.82
140 | Doors and Windows | 39.48 | BDT | Providing and fixing 34 mm thick moulded door shutter consisting of solid core single leaf flush door of 30 mm thickness lipped with 15 mm ( 5mm x 3) thick x 30 mm width on one style and top rail and 10 mm (5mm x 2) thick x 30 mm width on other style and bottom rails. The inner panels laminated with 2 mm thick termite proof, water proof and fire resistant moulded PVC sheet with 2,4,6 design in different plain and /or prelim colours on one side after routing the moulded design on flush doors and 2 mm plain and /or pre lam PVC on other side using rubber adhesive on flush door and solvent cement adhesive on the PVC lipping etc. as per direction of Engineer in charge and manufacturers specification and drawing etc. complete.(SSR 2020-21 item no. 39.48, Page No.245) | As directed by Engineer in charge. | Square Metre | 6608.1
141 | Doors and Windows | 39.82 | BDT | Providing and fixing 30mm thick PVC FLUSH L DOOR SHUTTER consisting of panel of hollow PVC profile of 20 mm thickness consisting frame made out of M.S. tubes of 19 gauge thickness and size of 19mm x 19mminserted inside the hollow section of stiles rails top ?and bottom rails and two 19x 19 mm MS tubes inserted horizontally inside the hollow profile section using 4/5 mm sheet using screws hollow profile shall be lipped with 10 mm (5mm x2) thick x 20 mm width on stiles and rails using solvent cement. The inner panel shall be laminated with 5mm thick termite proof waterproof plain /prelam PVC sheet using solvent cement on the both sides of the panel including stainless steel fixtures and fastening etc. Complete as per direction of Engineer incharge, manufacturers specification and drawing.(SSR 2020-21 item no. 39.82, Page No.251) | As directed by Engineer in charge. | Square Metre | 5786.9
142 | Iron Work | 40.03 | BDU 2 | Providing and fixing mild steel grill railing 20 Kilogram/sq.m with teak wood hand rail of size 75mm x 60 mm.and sill of 75mm.x 25 mm.and newel posts for staircases, including fabricating, fix-tures, erecting, painting the grill work with one coat of anti-corrosive paint and two coats of oil painting with approved colour and polishing the sill, hand rail and the newel post with french polish.(SSR 2020-21 item no. 40.03, Page No.253) | Bd.U.2 Page No. 537 | Square Metre | 2609.15
143 | Iron Work | 40.04 | BDU 2A | Providing and fixing mild steel grill railing 15 Kilogram/sq.m with Ghanateak wood hand rail of size 75mm x 60 mm and sill of 75mm.x 25mm and newel posts for staircases, including fabricating, fixtures, erecting, painting the grill work with one coat of anticorrosive paint and two coats of oil painting with approved colours and polishing the sill, hand rail and the newel post with french polish.(SSR 2020-21 item no. 40.04, Page No.253) | Bd.U.2 Page No. 537 | Square Metre | 2370.06
144 | Iron Work | 40.06 | BDW | Providing and fixing 40mm diameter and 1.5 mm thick Stainless steel hand railing in S.S.304 Grade including fabricating ,fixtures, errecting, necessary welding, grinding, finishing, buffing to stainless steel pipe etc. complete (SSR 2020-21 item no. 40.06, Page No.253) | As directed by Engineer Incharge | Running Metre | 2033.26
145 | Iron Work | 40.07 | BDW | Providing and fixing 900mm high S.S.304 Grade Stainless steel railing with 40mm diameter and 1.5mm thick at top,40mm diameter and 1.5mm thick vertical supports spaced at 1.5m center to center and 8mm thick toughened glass including fabricating ,fixtures, errecting , necessary welding , grinding , finishing, buffing to stainless steel pipe etc. complete (SSR 2020-21 item no. 40.07, Page No.253) | As directed by Engineer Incharge | Running Metre | 4072.76
146 | Water Supply and Sanitary Fitting | 41.01 | BDV 1 | Providing and laying cast iron pipes of B class of 80mm diameter with sockets and spigot ends/ flanges and cast centrifugally / vertically including specials, laying pipes and back filling the trench complete including excavation. (SSR 2020-21 item no. 41.01, Page No.255) | Bd.V.1 Page No. 547 | Running Metre | 1163.2
147 | Water Supply and Sanitary Fitting | 41.02 | BDV 1A | Providing and laying cast iron pipes of B class of 100mm diameter with sockets and spigot ends/ flanges and cast centrifugally/vertically including specials, laying pipes and back filling the trench complete including excavation. (SSR 2020-21 item no. 41.02, Page No.255) | Bd.V.1 Page No. 547 | Running Metre | 1440.75
148 | Water Supply and Sanitary Fitting | 41.03 | BDV 1B | Providing and laying cast iron pipes of B class of 150mm diameter with sockets and spiget ends/ flanges and cast centrifugally/ vertically including specials, laying pipes and back filling the trench complete including excavation. (SSR 2020-21 item no. 41.03, Page No.255) | Bd.V.1 Page No. 547 | Running Metre | 2804.57
149 | Water Supply and Sanitary Fitting | 41.04 | BDV 2 | Providing and making lead joints for 80mm diameter cast iron pipe line including lead and testing.(SSR 2020-21 item no. 41.04, Page No.255) | Bd.V.2 Page No. 549 | Number | 674.64
150 | Water Supply and Sanitary Fitting | 41.05 | BDV 2A | Providing and making lead joints for 100mm diameter cast iron pipes line including lead and testing. (SSR 2020-21 item no. 41.05, Page No.255) | Bd.V.2 Page No. 549 | Number | 728.69
151 | Water Supply and Sanitary Fitting | 41.06 | BDV 2B | Providing and making lead joints for 150mm diameter cast iron pipe line including lead and testing. (SSR 2020-21 item no. 41.06, Page No.255) | Bd.V.2 Page No. 549 | Number | 788.98
152 | Water Supply and Sanitary Fitting | 41.1 | BDV 5 | Providing and fixing on walls/ ceiling/ floors, 15 mm dia. heavy grade having embossed as ISI Mark galvanised iron pipes weight of 1.48 Kilogram/metre with necessary fittings. remaking good the demolished portion and applying primer of anti-corrosive oil paint 2 coats Including necessary scaffolding and removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete. (SSR 2020-21 item no. 41.10, Page No.255) | Bd.V.5 Page No. 551 | Running Metre | 399.17
153 | Water Supply and Sanitary Fitting | 41.11 | BDV 5 | Providing and fixing on walls/ ceiling/ floors 20 mm dia. heavy grade having embossed as ISI Mark galvanised iron pipes of 1.93 Kilogram/meter with necessary fitting remaking good the demolished portion and applying primer of anti-corrosive oil paint, 2 coats Including necessary scaffolding and removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete. (SSR 2020-21 item no. 41.11, Page No.256) | Bd.V.5 Page No. 551c | Running Metre | 475.05
154 | Water Supply and Sanitary Fitting | 41.12 | BDV 5 | Providing and fixing on walls/ ceiling/ floors, 25 mm dia. heavy grade having embossed as ISI Mark galvanised iron pipes weight of 3.01 Kilogram/meter with necessary fittings . remaking good the demolished portion and applying primer of anti-corrosive oil paint 2 coats Including necessary scaffolding and removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete. (SSR 2020-21 item no. 41.12, Page No.256) | Bd.V.5 Page No. 551 | Running Metre | 563.41
155 | Water Supply and Sanitary Fitting | 41.13 | BDV 5 | Providing and fixing on walls/ ceiling/ floors, 32 mm dia. heavy grade having embossed as ISI Mark galvanised iron pipes weight of 3.89 Kilogram/meter with necessary fittings . remaking good the demolished portion and applying primer of anti-corrosive oil paint 2 coats Including necessary scaffolding and removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete. (SSR 2020-21 item no. 41.13, Page No.256) | Bd.V.5 Page No. 551 | Running Metre | 607.07
156 | Water Supply and Sanitary Fitting | 41.14 | BDV 5 | Providing and fixing on walls/ ceiling/ floors, 40 mm dia. heavy grade having embossed as ISI Mark galvanised iron pipes weight of 4.49 Kilogram/meter with necessary fittings and remaking good the demolished portion and applying primer of anti-corrosive oil paint 2 coats Including necessary scaffolding and removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete. (SSR 2020-21 item no. 41.14, Page No.256) | Bd.V.5 Page No. 551 | Running Metre | 674.64
157 | Water Supply and Sanitary Fitting | 41.18 | BDV 5 | Providing and laying in trenches 15 mm dia. medium grade having embossed as ISI Mark galvanised iron pipes of 1.25 Kilogram/meter necessary fitting remaking good the demolished portion with filling trenches and with primer of anti-corrosive oil paint, 2 coats Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete. (SSR 2020-21 item no. 41.18, Page No.257) | Bd.V.5 Page No. 551 | Running Metre | 400.21
158 | Water Supply and Sanitary Fitting | 41.19 | BDV 5 | Providing and laying in trenches 20 mm dia. medium grade having embossed as ISI Mark galvanised iron pipes ?of 1.63 Kilogram/meter necessary fitting remaking good the demolished portion with filling trenches and with primer of anti-corrosive oil paint, 2 coats Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete. (SSR 2020-21 item no. 41.19, Page No.257) | Bd.V.5 Page No. 551 | Running Metre | 481.29
159 | Water Supply and Sanitary Fitting | 41.2 | BDV 5 | Providing and laying in trenches 25 mm dia. medium grade having embossed as ISI Mark galvanised iron pipes ?of 2.49 Kilogram/meter necessary fitting remaking good the ?demolished portion with filling trenches and with primer of anti-corrosive oil paint, 2 coats Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete. (SSR 2020-21 item no. 41.20, Page No.257) | Bd.V.5 Page No. 551 | Running Metre | 487.53
160 | Water Supply and Sanitary Fitting | 41.21 | BDV 5 | Providing and laying in trenches 32 mm dia.medium grade having embossed as ISI Mark galvanised iron pipes ?of 3.20 Kilogram/meter necessary fitting remaking good the demolished portion with filling trenches and with primer of anti-corrosive oil paint, 2 coats Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete. (SSR 2020-21 item no. 41.21, Page No.257) | Bd.V.5 Page No. 551 | Running Metre | 549.9
161 | Water Supply and Sanitary Fitting | 41.22 | BDV 5 | Providing and laying in trenches 40 mm dia. medium grade having embossed as ISI Mark galvanised iron pipes ?of 3.68 Kilogram/meter necessary fitting remaking good the demolished portion with filling trenches and with primer of anti-corrosive oil paint, 2 coats Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete. (SSR 2020-21 item no. 41.22, Page No.257) | Bd.V.5 Page No. 551 | Running Metre | 623.7
162 | Water Supply and Sanitary Fitting | 41.26 | BDV 7 | Providing and fixing 15mm diameter water meter with non-return valve including strainer, sockets/ union nut including water meter box making locking arrangement and lock. [Without chamber]. (SSR 2020-21 item no. 41.26, Page No.258) | Bd.V.7 Page No. 554 | Number | 3304.57
163 | Water Supply and Sanitary Fitting | 41.27 | BDV 7 | Providing and fixing 20mm diameter water meter with non-return valve including strainer, sockets/ union nut including water meter box making locking arrangement and lock. (without chamber). (SSR 2020-21 item no. 41.27, Page No.258) | Bd.V.7 Page No. 554 | Number | 4609.14
164 | Water Supply and Sanitary Fitting | 41.28 | BDV 7 | Providing and fixing 25mm diameter water meter with non-return valve including strainer, sockets/ union nut and including water meter box making locking arrangement and lock. [Without chamber]. (SSR 2020-21 item no. 41.28, Page No.258) | Bd.V.7 Page No. 554 | Number | 6136.17
165 | Water Supply and Sanitary Fitting | 41.29 | BDV 7 | Providing and fixing 40mm diameter water meter with non-return valve including strainer, sockets/ union nut and including water meter box making locking arrangements and lock. [Withoutchamber]. (SSR 2020-21 item no. 41.29, Page No.258) | Bd.V.7 Page No. 554 | Number | 10573.79
166 | Water Supply and Sanitary Fitting | 41.3 | BDV 7 | Providing and fixing 50mm diameter water meter with non-return valve including strainer, sockets/ union nut and including water meter box making locking arrangement and lock. [without chamber] (SSR 2020-21 item no. 41.30, Page No.258) | Bd.V.7 Page No. 554 | Number | 13451.13
167 | Water Supply and Sanitary Fitting | 41.4 | BDV 8 | Providing and fixing 15 mm dia. screw down bib/ stop tap of brass including necessary socket union nut complete. (SSR 2020-21 item no. 41.40, Page No.258) | Bd.V.8 Page No. 554 | Number | 594.59
168 | Water Supply and Sanitary Fitting | 41.41 | BDV 8 | Providing and fixing 20 mm dia. screw down bib/ stop tap of brass including necessary socket union nut complete. (SSR 2020-21 item no. 41.41, Page No.258) | Bd.V.8 Page No. 554 | Number | 901.25
169 | Water Supply and Sanitary Fitting | 41.42 | BDV 8 | Providing and fixing 25 mm dia. screw down bib/ stop tap of brass including necessary socket union nut complete. (SSR 2020-21 item no. 41.42, Page No.258) | Bd.V.8 Page No. 554 | Number | 1234.93
170 | Water Supply and Sanitary Fitting | 41.43 | BDV 9 | Providing and fixing screw down 15 mm dia. wheeled stop tap of brass including necessary sockets/union nut complete (SSR 2020-21 item no. 41.43, Page No.259) | Bd.V.9 Page No. 555 | Number | 456.34
171 | Water Supply and Sanitary Fitting | 41.44 | BDV 9 | Providing and fixing screw down for 20 mm dia. wheeled stop tap of brass including necessary sockets/union nut complete. (SSR 2020-21 item no. 41.44, Page No.259) | Bd.V.9 Page No. 555 | Number | 603.95
172 | Water Supply and Sanitary Fitting | 41.45 | BDV 9 | Providing and fixing screw down for 25 mm dia. wheeled stop tap of brass including necessary sockets/union nut complete. (SSR 2020-21 item no. 41.45, Page No.259) | Bd.V.9 Page No. 555 | Number | 766.11
173 | Water Supply and Sanitary Fitting | 41.56 | BDV 19 | Providing and fixing 45 cm wide mild steel ladder of 40mm x 6 mm mild steel flat stringers and steps of 18 mm dia. mild steel bar for water tank including fixing it in (1:2:4) M-15 cement concrete block 60cm x 30cm x 30cm and painting the ladder complete. (Anti Corossive Paint) (SSR 2020-21 item no. 41.56, Page No.259) | Bd. V. 19 Page No. 559 | Running Metre | 1196.46
174 | Water Supply and Sanitary Fitting | 41.57 | BDV 23 | Providing and fixing White Glazed Earthenware full stall type Urinal with P.V.C. flushing cistern of 5 liters capacity with fitting, inlet pipes and stop tap, brackets for fixing the cistern, 32 mm dia. P.V.C flush pipe with fittings and flushing arrangement including lead soil pipe, lead trap, soil pipe connectionup to the outside face of the wall(SSR 2020-21 item no. 41.57, Page No.260) | Bd.V.23 Page No. 562 | Number | 8750.24
175 | Water Supply and Sanitary Fitting | 41.63 | BDV 30 | Providing and fixing white glazed earthenware Wash Hand Basin of 55cm. x 40 cm. size including cold water pillar tap/cold and hot water pillar tap brackets, rubber plugs and brass chain, stop tap and necessary pipe connections including P.V.C. waste pipe and trap up to the outside face of the wall. Making good the damaged surface, testing etc. complete.(SSR 2020-21 item no. 41.63, Page No.260) | Bd.V.30 Page No. 565 | Number | 5536.1
176 | Water Supply and Sanitary Fitting | 41.64 | BDV 30 | Providing and fixing white glazed earthenware Wash Hand Basin of 45cm x 30cm size including cold water pillar tap/cold and hot water pillar tap brackets, rubber plugs and brass chain, stop tap and necessary pipe connection including P.V.C. waste pipe and trap up to the outside face of the wall. Making good the damaged surface, testing etc. complete.(SSR 2020-21 item no. 41.64, Page No.260) | Bd.V.30 Page No. 565 | Number | 4907.21
177 | Water Supply and Sanitary Fitting | 41.65 | BDV 30 | Providing and fixing white glazed earthenware Wash Hand Basin of 63cm x 45cm size including Bib cock stop tap brass heavy 15mm, brackets, rubber plugs and brass chain, stop tap and necessary pipe connection including P.V.C. waste pipe and trap up to the outside face of the wall.(SSR 2020-21 item no. 41.65, Page No.261) | Bd.V.30 Page No. 565 | Number | 6366.66
178 | Water Supply and Sanitary Fitting | 41.66 | BDV 30 | Providing and fixing coloured glazed earthenware Wash Hand Basin of 55cm x 40 cm size including cold water pillar tap/cold and hot water pillar tap brackets, rubber plugs and brass chain, stop tap and necessary pipe connection including P.V.C. waste pipe and trap up to the outside face of the wall. Making good the damaged surface, testing etc. complete.(SSR 2020-21 item no. 41.66, Page No.261) | Bd.V.30 Page No. 565 | Number | 5115.11
179 | Water Supply and Sanitary Fitting | 41.67 | BDV 30 | Providing and fixing coloured glazed earthenware Wash Hand Basin of 45 cm x 30 cm size including cold water pillar tap/cold and hot water pillar tap brackets, rubber plugs and brass chain, stop tap and necessary pipe connection including P.V.C. waste pipe and trap up to the outside face of the wall. Making good the damaged surface, testing etc. complete.(SSR 2020-21 item no. 41.67, Page No.261) | Bd.V.30 Page No. 565 | Number | 5253.36
180 | Water Supply and Sanitary Fitting | 41.72 | BDV | Providing and fixing Coloured glazed with bottle trap earthenware Wash Hand Basin of 55x40 cm. size including cold water piller taps, brackets, rubber plugs and brass chain, stop tap, chromium plate bottle trap and necessary pipe connections including UPAC waste pipe and trap upto the outside face of the wall, making good the damaged surface, testing etc. complete.(SSR 2020-21 item no. 41.72, Page No.261) | BDV.-30 Page No.616 | Number | 5002.84
181 | Water Supply and Sanitary Fitting | 41.75 | BDV 31 | Providing and fixing white glazed earthenware sink 600mm x 200mm x 450mm including all connection of the G.I. supply and P.V.C. waste pipes up to the outside face of the wall, cold water chromium plated screw down bib tap, rolled steel or C.I. brackets, rubber plug with chain and stop tap complete.(SSR 2020-21 item no. 41.75, Page No.262) | Bd.V.31 Page No.566 | Number | 4582.88
182 | Water Supply and Sanitary Fitting | 41.78 | BDV | Providing and constructing granite kitchen platform with fixing of stainless steel sink 600 mm x 450 mm size as per detailed drawing including vertical both side polished kadappah stone 25 to 30 mm thick supports with kadappah top 35 to 40 mm thick and polished granite 16 to 20 mm top with side strips of granite at front and both sides of platform raised with two vertical granite supports 15 cm height and top granite of 75 x 40 cm including cutting, opening for sink of required size in kadappah as well as granite etc. complete. (Platform top size 5.00 m x 0.60 m and height is 0.75 m) (SSR 2020-21 item no. 41.78, Page No.262) | As directed by Engineer in charge. | Square Metre | 9542.61
183 | Water Supply and Sanitary Fitting | 41.79 | BDV 32 | Providing and fixing 8cm C.I. Nahani Trap including C.I. grating bend and piece of C.I. pipe upto the outside face of the wall complete.(SSR 2020-21 item no. 41.79, Page No.262) | Bd.V.32 Page No.567 | Number | 1018.44
184 | Water Supply and Sanitary Fitting | 41.8 | BDV 32 | Providing and fixing 10cm C.I. Nahani Trap including C.I. grating bend and piece of C.I. pipe upto the outside face of the wall complete.(SSR 2020-21 item no. 41.80, Page No.262) | Bd.V.32 Page No.567 | Number | 1155.65
185 | Water Supply and Sanitary Fitting | 42.01 | BDV 37 | Providing and laying 100mm diameter half round salt glazed stoneware pipes in brick masonry including fittings such as bends, tees, single junction, necessary excavation and jointing complete.(SSR 2020-21 item no. 42.01, Page No.263) | Bd.V.37, Page No. 571 | Running Metre | 547.66
186 | Water Supply and Sanitary Fitting | 42.03 | BDV 39 | Providing and laying 100 mm dia salt glazed stoneware pipe including fittings such as bends, tees, single junction, double junctions laying, jointing (including excavation and refilling the trenches) complete.(SSR 2020-21 item no. 42.03, Page No.263) | Bd.V.39, Page No. 573 | Running Metre | 317.05
187 | Water Supply and Sanitary Fitting | 42.04 | BDV 39 | Providing and laying 150 mm dia salt glazed stoneware pipe including fittings such as bends, tees, single junction, double junctions laying, jointing (including excavation and refilling the trenches) complete.(SSR 2020-21 item no. 42.04, Page No.263) | Bd.V.39, Page No. 573 | Running Metre | 390.85
188 | Water Supply and Sanitary Fitting | 42.05 | BDV 39 | Providing and laying for 225mm dia. salt glazed S.W. Pipe including fitting such as bends, tees, single junction, double junctions laying, jointing (including excavation and refilling the trenches) (SSR 2020-21 item no. 42.05, Page No.263) | Bd.V.39, Page No. 573 | Running Metre | 424.12
189 | Water Supply and Sanitary Fitting | 42.1 | BDV 43 | Providing and constructing Brick Masonry Inspection Chamber 60cm x 45cm x 90cm including 1:4:8 cement concrete foundation 1:2:4 cement concrete channels half round G.S.W. pipes, Brick Masonry, plastering from inside and airtight C. I. cover of 75Kilogramwith lid and frame fixed in cement concrete. (SSR 2020-21 item no. 42.10, Page No.263) | Bd.V.43, Page No. 574 | Number | 13684.73
190 | Water Supply and Sanitary Fitting | 42.11 | BDV 43 | Providing and constructing Brick Masonry Inspection Chamber 90cm x 45cm x 90cm including 1:4:8 cement concrete foundation 1:2:4 cement concrete channels half round G.S.W.pipes, Brick Masonry, plastering from inside and C.I. lid cover of 75Kilogramwith lid and frame fixed in cement concrete. | Bd.V.43 Page No. 574 | Number | 14939.79
191 | Water Supply and Sanitary Fitting | 42.12 | BDV 43 | Providing and constructing Brick Masonry Inspection Chamber 60cm x 45cm x 90cm including 1:4:8 cement concrete foundation 1:2:4 cement concrete channels half round G.S.W. pipes, Brick Masonry, plastering from inside and with frame fixed in cement concrete with R.C.C. Cover medium duty 140Kilogram with frame etc complete. (SSR 2020-21 item no. 42.12, Page No.264) | Bd.V.43, Page No. 574 | Number | 9529.19
192 | Water Supply and Sanitary Fitting | 42.13 | BDV 43 | Providing and constructing Brick Masonry Inspection Chamber 90cm x 45cm x 90cm including 1:4:8 cement concrete foundation 1:2:4 cement concrete channels half round G.S.W.pipes, Brick Masonry, plastering from inside and with frame fixed in cement concrete with R.C.C. Cover medium duty 140Kilogramwith frame etc complete. (SSR 2020-21 item no. 42.13, Page No.264) | Bd.V.43, Page No. 574 | Number | 11469.45
193 | Water Supply and Sanitary Fitting | 42.15 | BDV 44 | Providing and constructing Brick Masonry inspection trap Chamber 90cm x 45cm including 1:4:8 C.C foundation, 1:2:4 C.C.channels/half round glazed stoneware pipe channel, salt glazed stone-ware intercepting trap with rodding pipe set in 1:4:8 cement concrete block, brick masonry plastering inside and Outside, fixed in cement concrete with R.C.C. Cover medium duty 140 Kilogram. etc complete (SSR 2020-21 item no. 42.15, Page No.264) | Bd.V.44, Page No. 575 | Number | 10197.5
194 | Water Supply and Sanitary Fitting | 42.33 | BDV | Providing and fixing 1st class white glazed earthenware Orissa Type W.C. Pan 580 mm dia including P or S trap cast iron soil and vent pipe upto the outside face of the wall (1:5:1 0) cement concrete bedding 15 mm thick, 10 liter P.V.C. flushing cistern with all necessary pipe connection etc. complete.(SSR 2020-21 item no. 42.33, Page No.266) | As directed by Engineer in charge. | Number | 6640.25
195 | Water Supply and Sanitary Fitting | 42.34 | BDV | Providing and fixing European type white glazed earthenware coupled closet symphonic trap with symphonic low level white glazed 10 litres cistern with black backlite seat with all necessary pipe connection etc. complete.(SSR 2020-21 item no. 42.34, Page No.266) | As directed by Engineer in charge. | Number | 9638.33
196 | Water Supply and Sanitary Fitting | 42.35 | BDV | Providing and fixing orissa type colour glazed earthenware 625 x 450 mm. W.C. Pan including trap, C.I. soil and vent pipe upto the out side face of wall including 100 mm. dia. C.I. plug, bend, 15mm. thick 10 litre PVC flushing cistern with all necessary pipe connection etc. complete.(SSR 2020-21 item no. 42.35, Page No.266) | As directed by Engineer in charge. | Number | 8687.02
197 | Water Supply and Sanitary Fitting | 42.36 | BDV | Providing and fixing 40 mm. dia Ball cock medium type with PVC float including sockets and necessary fittings and tested as per municipal requirements etc. complete.(SSR 2020-21 item no. 42.36, Page No.266) | As directed by Engineer in charge. | Number | 1049.9
198 | Water Supply and Sanitary Fitting | 42.37 | BDV | Providing and fixing 15 mm. dia Ball cock medium type with PVC float including sockets and necessary fittings and tested as per municipal requirement etc. complete.(SSR 2020-21 item no. 42.37, Page No.266) | As directed by Engineer in charge. | Number | 426.2
199 | Water Supply and Sanitary Fitting | 42.51 | BDV | Providing and fixing 75 mm dia stabiliser pipe/ P.V.C. soil vent/waste pipe and with necessary fixtures and fitting such as bends, tees, single junctions, slotted vent, clamps etc. complete (SSR 2020-21 item no. 42.51, Page No.268) | As directed by Engineer in charge. | Running Metre | 518.71
200 | Water Supply and Sanitary Fitting | 42.52 | BDV | Providing and fixing 100 mm dia stabiliser pipe/ P.V.C. soil vent/waste pipe and with necessary fixtures and fitting such as bends, tees, single junctions, slotted vent, clamps etc. complete. (SSR 2020-21 item no. 42.52, Page No.268) | As directed by Engineer in charge. | Running Metre | 697.5
201 | Water Supply and Sanitary Fitting | 42.53 | BDV | Providing and fixing H.D.P container Syntex or alike one piece moulded water tank made out of high density polythyler and built corrugated inclusive of delivery up to destination hoisting and fixing of accessories such as inlet,outlet overflow pipe inclusive of all tanks capacity between 200 to 1000 liters (SSR 2020-21 item no. 42.53, Page No.268) | As directed by engineer-in- charge. | Litre | 13.51
202 | Water Supply and Sanitary Fitting | 42.54 | BDV | Providing and fixing H.D.P container Syntex or alike one piece moulded water tank made out of low density polythyler and built corrugation including of delivery up to destination hoisting and fixing of accessories such as inlet, outlet overflow of all tanks capacity above 1000 to 20,000 litres (SSR 2020-21 item no. 42.54, Page No.268) | As directed by engineer-in- charge. | Litre | 11.43
203 | Water Supply and Sanitary Fitting | 42.55 | BDV | Providing and fixing on walls/ ceiling/ floor 15 mm dia. CPVC pipe with necessary fittings, remaking good the demolished portion etc. complete. Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete. (SSR 2020-21 item no. 42.55, Page No.268) | BD.V 5 page 551 and as directed by Engineer in charge | Running Metre | 197.51
204 | Water Supply and Sanitary Fitting | 42.56 | BDV 5 | Providing and fixing on walls/ceiling/floor 20 mm dia. CPVC pipe with necessary fittings, remaking good the demolished portion etc. complete. Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete. (SSR 2020-21 item no. 42.56, Page No.268) | BD.V 5 page 551 and as directed by Engineer in charge | Running Metre | 223.49
205 | Water Supply and Sanitary Fitting | 42.57 | BDV 5 | Providing and fixing on walls/ ceiling/ floor 25 mm dia. CPVC pipe with necessary fittings, remaking good the demolished portion etc. complete. Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete.(SSR 2020-21 item no. 42.57, Page No.269) | BD.V 5 page 551 and as directed by Engineer in charge | Running Metre | 272.35
206 | Water Supply and Sanitary Fitting | 42.58 | BDV 5 | Providing and fixing on walls/ ceiling/ floor 32 mm dia. CPVC pipe with necessary fittings, remaking good the demolished portion etc. complete. Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete.(SSR 2020-21 item no. 42.58, Page No.269) | BD.V 5 page 551 and as directed by Engineer in charge | Running Metre | 332.64
207 | Water Supply and Sanitary Fitting | 42.59 | BDV 5 | Providing and fixing on walls /ceiling/ floor 40 mm dia. CPVC pipe with necessary fittings, remaking good the demolished portion etc. complete. Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete.(SSR 2020-21 item no. 42.59, Page No.269) | BD.V 5 page 551 and as directed by Engineer in charge | Running Metre | 419.96
208 | Water Supply and Sanitary Fitting | 42.6 | BDV 5 | Providing and fixing on walls/ ceiling/ floor 50 mm dia. CPVC pipe with necessary fittings, remaking good the demolished portion etc. complete. (SSR 2020-21 item no. 42.60, Page No.269) | BD.V 5 page 551 and as directed by Engineer in charge | Running Metre | 622.66
209 | Water Supply and Sanitary Fitting | 42.61 | BDV 5 | Providing and laying in trenches 15 mm dia. CPVC pipe including necessary excavation, fittings. Refilling trenches etc. complete Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete.(SSR 2020-21 item no. 42.61, Page No.269) | BD.V 5 page 551 and as directed by Engineer in charge | Running Metre | 221.41
210 | Water Supply and Sanitary Fitting | 42.62 | BDV 5 | Providing and laying in trenches 20 mm dia. CPVC pipe including necessary excavation, fittings. Refilling trenches etc. complete. Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete. (SSR 2020-21 item no. 42.62, Page No.269) | BD.V 5 page 551 and as directed by Engineer in charge | Running Metre | 248.44
211 | Water Supply and Sanitary Fitting | 42.63 | BDV 5 | Providing and laying in trenches 25 mm dia. CPVC pipe including necessary excavation, fittings. Refilling trenches etc. complete. Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete. (SSR 2020-21 item no. 42.63, Page No.269) | BD.V 5 page 551 and as directed by Engineer in charge | Running Metre | 287.94
212 | Water Supply and Sanitary Fitting | 42.64 | BDV 5 | Providing and laying in trenches 32 mm dia. CPVC pipe including necessary excavation, fittings. Refilling trenches etc. complete. Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete. (SSR 2020-21 item no. 42.64, Page No.269) | BD.V 5 page 551 and as directed by Engineer in charge | Running Metre | 359.67
213 | Water Supply and Sanitary Fitting | 42.65 | BDV 5 | Providing and laying in trenches 40mm dia. CPVC pipe including necessary excavation, fittings. Refilling trenches etc. complete. Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete. (SSR 2020-21 item no. 42.65, Page No.270) | BD.V 5 page 551 and as directed by Engineer in charge | Running Metre | 446.99
214 | Water Supply and Sanitary Fitting | 42.66 | BDV 5 | Providing and laying in trenches 50mm dia. CPVC pipe including necessary excavation, fittings. Refilling trenches etc. complete. Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete. (SSR 2020-21 item no. 42.66, Page No.270) | BD.V 5 page 551 and as directed by Engineer in charge | Running Metre | 644.49
215 | Water Supply and Sanitary Fitting | 42.67 | BDV 32 | Providing and fixing 10 cm PVC nahani trap with grating etc. complete. (SSR 2020-21 item no. 42.66, Page No.270) | BD.V 32 A page 551 and as directed by Engineer in charge | Number | 495.57
216 | Water Supply and Sanitary Fitting | 42.72 | BDV 4 | Providing and making ISI Mark ferrule connection of 15 mm dia. to water main including ferrule coupling cast iron bell mouth cover, built in non return valve and fixing including excavation and reinstatement complete. (SSR 2020-21 item no. 42.72, Page No.270) | Bd.V. 4 page 551 | Number | 1127.86
217 | Water Supply and Sanitary Fitting | 42.73 | BDV 4 | Providing and making ISI Mark ferrule connection of 20 mm dia. to water main including ferrule coupling cast iron bell mouth cover, built in non return valve and fixing including excavation and reinstatement complete. (SSR 2020-21 item no. 42.73, Page No.270) | Bd.V. 4 page 551 | Number | 1524.95
218 | Water Supply and Sanitary Fitting | 42.74 | BDV 4 | Providing and making ISI Mark ferrule connection of 25mm dia.to water main including ferrule coupling cast iron bell mouth cover, built in non return valve and fixing including excavation and reinstatement complete. (SSR 2020-21 item no. 42.74, Page No.270) | Bd.V. 4 page 551 | Number | 2272.35
219 | Water Supply and Sanitary Fitting | 42.75 | BDV 4 | Providing and making ISI Mark ferrule connection of 32 mm dia. to water main including ferrule coupling cast iron bell mouth cover, built in non return valve and fixing including excavation and reinstatement complete. (SSR 2020-21 item no. 42.75, Page No.271) | Bd.V. 4 page 551 | Number | 3419.96
220 | Water Supply and Sanitary Fitting | 42.76 | BDV 4 | Providing and making ISI Mark ferrule connection of 40mm dia. to water main including ferrule coupling cast iron bell mouth cover, built in non return valve and fixing including excavation and reinstatement complete. (SSR 2020-21 item no. 42.76, Page No.271) | Bd.V. 4 page 551 | Number | 4709.97
221 | Water Supply and Sanitary Fitting | 42.77 | BDV 4 | Providing and making ISI Mark ferrule connection of 50 mm dia. to water main including ferrule coupling cast iron bell mouth cover, built in non return valve and fixing including excavation and reinstatement complete.(SSR 2020-21 item no. 42.77, Page No.271) | Bd.V. 4 page 551 | Number | 7617.46
222 | Water Supply and Sanitary Fitting | 42.85 | BDV | Providing and fixing P.V.C. Rain water pipes of 160mm outer diameter and having wall thickness of 2.2 to 2.7 mm confirming to I.S. 13592-1992 including proper rainwater receiving recess with P.V.C. plug, bend, necessary fittings, such as, offsets, shoes, inluding fixing the pipe on wall using approved wooden cleats projecting 25mm to 40mm from face of wall a fixing with clips of approved quality and number ,filing the joint using rubber gasket with solvent cement and properly resting the shoe of pipes on C.C. or masonry blocks, including necessary scaffolding and maintenance for 3 yrs for any leakages or dislocations of pipes. All the P.V.C. fittings and additional 2 piece socket clips shall be got approved from engineer in charge etc. complete.(SSR 2020-21 item no. 42.85, Page No.272) | As directed by Engineer Incharge | Running Metre | 1301.45
223 | Water Supply and Sanitary Fitting | 42.87 | BDV | Providing and fixing P.V.C. Rain water pipes of 110mm outer diameter and having wall thickness of 2.2 to 2.7 mm confirming to I.S. 13592-1992 including proper rainwater receiving recess with P.V.C. plug, bend, necessary fittings, such as, offsets, shoes, inluding fixing the pipe on wall using approved wooden cleats projecting 25mm to 40mm from face of wall a fixing with clips of approved quality and number ,filing the joint using rubber gasket with solvent cement and properly resting the shoe of pipes on C.C. or masonry blocks, including necessary scaffolding and maintenance for 3 yrs for any leakages or dislocations of pipes. All the P.V.C. fittings and additional 2 piece socket clips shall be got approved from engineer in charge etc. complete.(SSR 2020-21 item no. 42.87, Page No.272) | As directed by Engineer Incharge | Running Metre | 477.13
224 | Water Supply and Sanitary Fitting | 43.01 | BDV 5 | Providing and laying in walls/ceilings/floors 15 mm dia. medium grade having embossed as ISI Mark galvanised iron pipes of 1.25 Kilogram/metre necessary fitting remaking good the demolished portion with filling trenches and with primer of anti-corrosive oil paint, 2 coats complete. Including necessary scaffolding and removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete.(SSR 2020-21 item no. 43.01, Page No.273) | Bd.V.5 Page No. 551 | Running Metre | 330.56
225 | Water Supply and Sanitary Fitting | 43.02 | BDV 5 | Providing and laying in walls/ceilings/floors 20 mm dia. medium grade having embossed as ISI Mark galvanised iron pipes of 1.63 Kilogram/metre necessary fitting remaking good the demolished portion with filling trenches and with primer of anti-corrosive oil paint, 2 coats complete. Including necessary scaffolding and removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete. (SSR 2020-21 item no. 43.02, Page No.273) | Bd.V.5 Page No. 551 | Running Metre | 374.22
226 | Water Supply and Sanitary Fitting | 43.03 | BDV 5 | Providing and laying in walls/ceilings/floors 25 mm dia. medium grade having embossed as ISI Mark galvanised iron pipes of 2.49 Kilogram/metre necessary fitting remaking good the demolished portion with filling trenches and with primer of anti-corrosive oil paint , 2 coats complete. Including necessary scaffolding and removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete.(SSR 2020-21 item no. 43.03, Page No.273) | Bd.V.5 Page No. 551 | Running Metre | 428.27
227 | Water Supply and Sanitary Fitting | 43.04 | BDV 5 | Providing and laying in walls/ceilings/floors 32 mm dia. medium grade having embossed as ISI Mark galvanised iron pipes of 3.20 Kilogram/metre necessary fitting remaking good the demolished portion with filling trenches and with primer of anti-corrosive oil paint , 2 coats complete. Including necessary scaffolding and removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete. (SSR 2020-21 item no. 43.04, Page No.273) | Bd.V.5 Page No. 551 | Running Metre | 510.39
228 | Water Supply and Sanitary Fitting | 43.05 | BDV 5 | Providing and laying in walls/ ceilings/floors 40 mm dia. medium grade having embossed as ISI Mark galvanised iron pipes of 3.68 Kilogram/metre necessary fitting remaking good the demolished portion with filling trenches and with primer of anti-corrosive oil paint , 2 coats complete. Including necessary scaffolding and removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete.(SSR 2020-21 item no. 43.05, Page No.273) | Bd.V.5 Page No. 551 | Running Metre | 568.61
229 | Water Supply and Sanitary Fitting | 43.06 | BDV 5 | Providing and laying in walls/ceilings/floors 50 mm dia. medium grade having embossed as ISI Mark galvanised iron pipes of 5.17 Kilogram/metre necessary fitting remaking good the demolished portion with filling trenches and with primer of anti-corrosive oil paint , 2 coats complete. Including necessary scaffolding and removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete.(SSR 2020-21 item no. 43.06, Page No.273) | Bd.V.5 Page No. 551 | Running Metre | 703.74
230 | Water Supply and Sanitary Fitting | 43.09 | BDV 5 | Providing and laying in trenches 15 mm dia.heavy grade having embossed as ISI Mark galvanised iron pipes of 1.48 Kilogram/metre necessary fitting remaking good the demolished portion with filling trenches and with primer of anti-corrosive oil paint , 2 coats complete. Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete.(SSR 2020-21 item no. 43.09, Page No. 274) | Bd.V.5 Page No. 551 | Running Metre | 429.31
231 | Water Supply and Sanitary Fitting | 43.1 | BDV 5 | Providing and laying in trenches 20 mm dia. heavy grade having embossed as ISI Mark galvanised iron pipes of 1.93 Kilogram/metre necessary fitting remaking good the demolished portion with filling trenches and with primer of anti-corrosive oil paint , 2 coats complete. Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete.(SSR 2020-21 item no. 43.10, Page No.274) | Bd.V.5 Page No. 551 | Running Metre | 502.08
232 | Water Supply and Sanitary Fitting | 43.11 | BDV 5 | Providing and laying in trenches 25 mm dia. heavy grade having embossed as ISI Mark galvanised iron pipes of 3.01 Kilogram/metre necessary fitting remaking good the demolished portion with filling trenches and with primer of anti-corrosive oil paint , 2 coats complete. Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete.(SSR 2020-21 item no. 43.11, Page No.274) | Bd.V.5 Page No. 551 | Running Metre | 575.88
233 | Water Supply and Sanitary Fitting | 43.12 | BDV 5 | Providing and laying in trenches 32 mm dia. heavy grade having embossed as ISI Mark galvanised iron pipes of 3.89 Kilogram/metre necessary fitting remaking good the demolished portion with filling trenches and with primer of anti-corrosive oil paint , 2 coats complete. Including removing existing pipe line if necessary and conveying and stacking the same in PWD chowky or as directed etc. complete.(SSR 2020-21 item no. 43.12, Page No.274) | Bd.V.5 Page No. 551 | Running Metre | 604.99
234 | Water Supply and Sanitary Fitting | 43.24 | BDV 22 | Providing and fixing high level 10 liter capacity with fittings inlet PVC pipe with stop tap ,brackets for fixing the cistern,32 mm dia. PVC flush pipe with fitting and clamps 20 mm dia. PVC overflow pipe with mosquito proof couplings, galvanised iron chain and pulley painting if ordered to cistern pipe etc. and cutting and making good the damaged wall and testing etc. complete ( Prior approval of sample and brand by Ex. Engr. is necessary before use)(SSR 2020-21 item no. 43.24, Page No.276) | Specfications | Number | 1212.06
235 | Water Supply and Sanitary Fitting | 43.25 | BDV 23 | Providing and fixing in position UPVC ultra violet stabilized 110 mm outer diameter cowl dome confirming to I.S.-4985 including making joints with solvent cement etc. complete(SSR 2020-21 item no. 43.25, Page No.276) | Specfications | Number | 155.93
236 | Building Miscellaneou s Item | 44.12 | BDW 7 | Providing and fixing 90 cm x 60 cm Granite plate engraving 10 cm. height letter, figures including painting the lefters/figures with approved colour and shade complete(SSR 2020-21 item no. 44.12, Page No.281) | Bd.W.7 Page No.586 | Number | 8298.33
237 | Building Miscellaneou s Item | 44.13 | BDW | Providing and erecting 1.2 meter high wire fencing with five rows of barbed wire supported on mild steel angle ( 50 x 50x 6mm) post at 2.5 m c/c including excavation of pits of foundation concrete fixing the posts in ( 1:4:8) cement concrete block of 45x45x45 cm and fastening the Wires and painting the angles with one coat with red lead primer and two coats of oil painting etc.complete(SSR 2020-21 item no. 44.13, Page No.281) | Bd.W.3 Page No.583 | Running Meter | 731.97
238 | Building Maintenance | 46.09 | BDW 8 | Dismantling brick masonry in lime or cement mortar and stacking the materils as directed with all leads, lifts etc. (SSR 2020-21 item no. 46.09, Page No.283) | As directed by Engineer in charge. | Cubic metre | 317.05
239 | Building Maintenance | 46.11 | BDW 8 | Dismantling stone masonry in lime or cement mortar including stacking the materils as directed with all leads, lifts etc. (SSR 2020-21 item no. 46.11, Page No.283) | As directed by Engineer in charge. | Cubic metre | 359.67
240 | Building Maintenance | 46.12 | BDW 8 | Removing lime or lean cement concrete including stacking the spoils as directed with all leads, lifts etc, complete. (SSR 2020-21 item no. 46.12, Page No.283) | As directed by Engineer in charge. | Cubic metre | 528.07
241 | Building Maintenance | 46.15 | BDW 8 | Removing doors and windows with frames and stacking the materials as directed with all leads, lifts etc. complete. (SSR 2020-21 item no. 46.15, Page No.283) | As directed by Engineer in charge. | Number | 91.55
242 | Building Maintenance | 46.29 | BDW 8 | Dismantling the R.C.C. Work 1:2:4 and sorting out the materials such as steel etc. as directed and stacking them within the specified lead as directed etc. complete. (SSR 2020-21 item no. 46.29, Page No.284) | As directed by Engineer in charge. | Cubic metre | 1373.18
243 | Building Maintenance | 46.41 | BDW | Removing W.C. pans including disconnecting the sanitary and water supply connections, removing and breaking flooring and bed con-crete around pan removing the same carefully and stacking the serviceable materials as adn where directed including throwing the unserviceable materiasls out side etc. carefully and throwing out the refusal outside etc. complete. (SSR 2020-21 item no. 46.41, Page No.285) | As directed by Engineer in charge. | Number | 196.47